Handout #1

Hatch 1 				   Hatch II

Hatch III					                    Hatch IV

Report A

Of four attic hatches installed by the Any Town Weatherization crew, three failed the final inspection. It is apparent that the time spent to date trying to train these incompetents in weatherization technology has been totally wasted. The following work will be necessary to correct the obvious mistakes:

- Hatch I: Paint trim to match existing trim; fit a new lid and paint to match existing lid.

- Hatch II: Throw out this piece of junk and replace it with a proper hatch.

- Hatch III: Remove scrap molding and replace with new painted molding to match the existing molding.

Report B

Of four attic hatches installed by the Any Town Weatherization crew, only one was totally acceptable. The other three will need some additional work to pass inspection.

- Hatch I: The trim should be sealed to prevent moisture absorption and warping of the wood. Use a colored sealer that closely matches the existing paint. Replace the lid with a piece of ¾” plywood, properly fitted and sealed to match. See the state weatherization manual for further detail.

- Hatch II: Remove client-installed cabinet door hatch, repair ceiling as necessary, and install a new attic hatch constructed per the state weatherization manual.

- Hatch III: The crew is to be commended for using the client-supplied molding, which matches the home’s interior molding. For this hatch to be acceptable, it will be necessary to caulk the molding corner joints to be airtight, as was done for the rest of the hatch joints.

- Hatch IV: This was a very good job of installing an effective weatherstrip on an existing hatch.