Comparison of Heat Loss by Sample Building Component

Windows vs. Walls

Formula: Heat Loss (BTU/hr) = UA

Where U = Thermal transmittance

Where A = Area

Where  = Delta T (temperature difference)

Use the formula for calculating heat loss to discuss window replacement as an energy savings measure. Use the sample numbers provided (or real numbers from local audits), standard existing conditions, and replacement materials.

Compare effectiveness of window replacement that doubles or triples thermal performance of a single pane window to blown-in insulation that increases thermal performance of walls and attics.

Window Section

Window assumptions: 	Window area = 6 ft2

Single pane glass R value = .90

Outside temperature = 30(F

Inside temperature = 70(F

Process

Convert R value to U value:

U=1/R

1/.90 = 1.1

U = 1.1

Calculate the Delta T

Delta T = inside temperature – outside temperature

70 -30 = 40

Delta T = 40

Calculate heat loss (BTU/hr.)

BTU/hr = UA

  - x 6 x 40 = 264

Window section = 264 BTU/hr

Wall Section

Wall assumptions: 	Wall area = 6 ft2

Wall R value = 14

Outside temperature = 30(F

Inside temperature = 70(F

Process

Convert R value to U value:

U=1/R

U=1/14

U = .07

Calculate the Delta T

Delta T = inside temperature – outside temperature

70 -30 = 40

Delta T = 40

Calculate heat loss (BTU/hr.)

UA=Heat loss (BTU/hr)

.07 x 6 x 40 = 16.8

-