Mobile Home Tool and Material List

For Duct Sealing, Air Sealing, and Insulation Retrofits

| Duct Sealing |
| --- |
| Materials | Tools |
| Aluminum coil stock (16” width) Duct mastic Butyl-backed aluminum (6” to 12” wide) 3/8” self-tapping hex head screws Foil-backed insulation board Fiberglass mesh tape Silicone and latex caulk | Latex gloves Flashlight Drop lights Mirror Shop Vac with HEPA filter Paint brushes Rags Rubbing alcohol Rechargeable drill and assorted bits Metal bending brake (optional) Standard WX hand toolkit Garbage bags Cleaning supplies |

| Belly Retrofit |
| --- |
| Materials | Tools |
| 1.5” drywall screws 3” drywall screws 3/8” self-tapping hex head screws Foil-backed insulation board House wrap (e.g., Typar) Foil-backed insulation board Belly Patch ( “Flexmend”) Spray adhesive Stitch staples stapler Standard construction staples (9/16”) Construction adhesive (e.g., Liquid Nails) Lathe or furring strips Foam sealant (one- and two-part foam) Bubble foil 6-mil plastic sheeting Loose-fill fiberglass insulation | Shop Vac 3/8” rechargeable drill and assorted bits 1/2'’ electric drill 2-1/4” wood boring bit Standard WX hand toolkit Duct tape Portable electric generator (5,000 watts) Insulation machine Standard flexible insulation hose (100’) Gray PVC 2” pipe sections (8 pieces) Extension cords (#12 gauge) Stitch and standard staplers Garbage bags Cleaning supplies Garden rake |

| Sidewall Retrofit |
| --- |
| Materials | Tools |
| 3/8” self-tapping hex head screws RTV clear silicone caulk R-13 high-density, unfaced fiberglass batts 6-mil plastic sheeting | Flash light Mirror 3/8” rechargeable drill and assorted bits Standard WX hand toolkit Long, flat pry bar Insulation stuffing tool (e.g., Lexan or galvanized) Garbage bags Cleaning supplies |

| Roof Retrofit |
| --- |
| Materials | Tools |
| Edge Lift Method Loose-fill fiberglass insulation 3/8” self-tapping hex head screws 1.5” roofing nails Mobile home gutter material Putty tape RTV silicone caulk Elastomeric roof coating Top Fill Method Loose-fill fiberglass insulation 3/8” self-tapping hex head screws RTV silicone caulk High-temperature silicone caulk Elastomeric roof coating Roof patch such as “Peel ‘n Seal” Galvanized steel patching material Aluminum coil stock Fiberglass mesh | Standard WX hand toolkit 3/8” rechargeable drill and assorted bits Portable electric generator (5,000 watts) Insulation machine Standard flexible insulation hose (100’) Gray PVC 2” pipe sections (8 pieces) Extension cords (#12 gauge) Clear acrylic 2” insulation fill tube (8’) Ladders and/or scaffolding Brushes for roof coating Garbage bags Cleaning supplies |