Quality Control Check list

Job #:  ___________________________	  In Progress  Completed/ Date of Completion_____________

Crew Lead:  ______________________   Client Name:  _______________________________ Owner    Renter

City/Street:  ______________________________________

Housing Type: 	Single Family   Mobile Home   Multi-family    Shelter

Primary Fuel Type:   Natural Gas   Propane   Electric  Oil    Other:  _____________

FILE REVIEW					YES	NO	N/A

- Eligibility Determination present?

- Energy Audit    Priority List

- Work Order/Building Weatherization Report

- Work Agreement

- Lead-Paint Notification Documented

- Certified Renovator Documentation

- Lead Safe Weatherization Documentation

- Mold/Moisture Form Documentation

- Other Hazardous Notification Form

- State Historic Preservation Documentation

- Combustion Appliance Safety Tests

- Pre & Post Combustion Safety Tests

- Pre & Post Blower Door Results (@CFM 50)

Pre #:__________________ Post #:__________________

14.   Other (Describe):  _______________________________

### ON-SITE WORK ASSESSMENT

HEATING, VENTILATION, AIR CONDITIONING

- Heating System Replacement

- Air Conditioning Replacement

- Heating System Tune-Up/Filter

- Air Conditioning Tune –Up/Filter

- Distribution System Modifications

- Duct Sealing

- Set-Back Thermostat

#### ATTIC						YES	NO	N/A

- Attic Insulation Installed:

- Good Coverage R-value

- Insulation Certificate Completed & Posted

- Heat Source/ Vent  Damming

- Attic Access Insulated and Secured

- Energy Related Repairs		________

- Work Meets Standards

YES	NO	N/A

SIDEWALLS & KNEEWALLS

- Walls Insulated by WAP

- Den se-pack method

- Plugs, Patching, & Painting appropriate

- Energy Related Repairs:               	________

- Work Meets Standards

SUBSPACE

- Foundation/Perimeter Insulation added:

- Floor Insulation added by WAP

- Basement Wall Insulation by WAP

- Vapor Barrier added; Coverage & Secure

- Work Meets Standards

WINDOWS/DOORS

- Number of Windows Replaced: ________________

- Proper Justification

SIR >1.0	     Health and Safety

- Number of Storm Windows Installed: _________

- Number of Doors Replaced:  ____________________

- Door Weatherstripping/Thresholds/Sweeps

- Other:   Sunscreens /	Film

- Work Meets Standards

OTHER MEASURES

- Water Heater Replacement

- Water Heater Treatment (Tank Wrap)

- Pipe Insulation

- Solar Water Heating System added:

- Low Flow Showerheads

- Lighting  - CFLs Installed:

- Refrigerator Replacement

a..Metering/other documentation:

- Smoke /Carbon Monoxide Detectors

- Other H&S Measures____________________________

- Other Energy Related Repairs__________________

- Air Sealing Measures

- Other (Describe):  _______________________________

- Work Meets Standards

Does this unit need additional attention from the agency?  Yes   No

(*Add comments on additional pages if necessary)

Crew Lead Name (Print)  ______________________________________________________

Signature:  ___________________________________________________________  Date:_____/______/____

# Text boxes

## Comments – HVAC

## Comments – Attic Work

# Comments - Sidewalls

## Comments – Subspace

## Comments – Windows/Doors

## Comments – Other Measures