## Equip List
Whole House Weatherization Equipment & Resource List
Insulation Equipment
Qty | Description | Model # | Sample Unit Price* | Total Cost | Grand Total
1 | Hose Reel | HR-300 | 515 | 515
1 | 2" x 50' Clear Mark II Hose | MK-2050 | 61 | 61
2 | 3" x 50' Clear Mark II Hose | MK-3050 | 92 | 184
20 | 20' of 1 1/4" Summer Tube | ST-125 | 3 | 60
20 | 20' of 1 1/4" Winter Tube | WT-125 | 3 | 60
2 | 3" Steel Connectors | SC-300 | 6 | 12
2 | 3" - 2" Steel Reducers | RC-320 | 9 | 18
5 | 2" - 3" Hose Clamp | CL-100 | 1 | 5
2 | 2" - 1 1/4" Steel Nozzle | RN-214 | 29 | 58
1 | 1/2" Drill Low RPM for Holes (GRAINGERS) | 5PP45 | 345 | 345
1 | 2 9/16" Lenox Wood Bit | LX-256 | 54 | 54
1 | Bag 2 9/16" Pine Wood Plugs (175 plugs) | WP-256 | 45 | 45
100 | R-Sticks | RT-440 | 0.2 | 20
1 | Survey Marking Flags (for electrical junction boxes) 100 pk | 3350-O | 21 | 21
1 | Zip Tool - Long Handle | ST-380 | 11 | 11
1 | Fein Saw Kit (for aluminum siding) | FMM 250Q | 309 | 309
1 | Fein Saw (replacement blade) | 63502097027 | 34 | 34
1 | Krendl 2300 Insulation Machine w/ Shredder (240 vt setup) | AF-2300S | 9880 | 9880
1 | Remote Control for Krendl Insulation Blowing Machine | WR-100 | 806 | 806
1 | 5" Heavy Duty Casters (set of 4) | AF-300 | 192 | 192
1 | Pressure Gauge (to test blowing machine pressure) | AF-250 | 142 | 142
1 | Graphite Powder | PG-430 | 6 | 6
12838
Blower Door Testing Equipment/Air Leakage Tools
Qty | Description | Model # | Unit Cost | Total Cost | Grand Total
1 | Blower Door Kit w/DG-700 Gauge |  | 2625 | 2625
1 | Exhaust Flow Meter |  | 135 | 135
1 | Hose Kit (set of multi-color hoses) |  | 70 | 70
1 | Pressure Pan 12" x 14" |  | 70 | 70
1 | Case 6 Rolls 8" Duct Mask |  | 130 | 130
2 | Static Pressure Probe |  | 15 | 30
3 | Small 1/16" Probe (Walthers) 3 pk | 370-1176 | 2 | 6
20 | 1/16" Probe Connectors (US Plastics) | 64266 | 0.3 | 6
1 | 1/16" Roll of Tubing for Small Probes (US Plastics) 100' | 36163 | 11 | 11
1 | Smoke Puffer (titanium tetrachloride) |  | 73 | 73
1 | Smoke Puffer (Wizard Stick non-toxic) | WS01 | 19 | 19
1 | Smoke Puffer (Wizard Stick non-toxic) (Smoke Fluid 3 oz.) | SZFF-03 | 4 | 4
3179
Combustion Testing Equipment
Qty | Description | Model # | Unit Cost | Total Cost | Grand Total
1 | Personal Protection CO Monitor (ToxiRAE III) | RAE G01-0101-000 | 179 | 179
1 | Combustion Analyzer (Fyrite Pro 125 w/printer) | 24-8205 | 1076 | 1076
1 | Combustion Analyzer (replacement filters 3 pk) | 07-1644 | 33 | 33
1 | Combustion Analyzer (replacement paper 5 pk) | 24-1310 | 33 | 33
1 | Gas Leak Detector (combustible gas and refrigerant) | 19-8045 | 494 | 494
1 | Gas Leak Detector (BUBBLES) |  | 7.86 | 7.86
1 | Drill Bit 5/16" (to drill comb test holes) |  | 5.3 | 5.3
1 | Stainless Steel Snap Plugs (100 pk) |  | 25 | 25
20 | Stainless Steel Lag Bolts (1/4" x 1") |  | 0.24 | 4.8
1 | H-Temp RTV Sealant |  | 5.95 | 5.95
1 | Smoke Pump Tester (for oil furnaces only) | 21-7006 | 110 | 110
1973.91
Northern Tool and Equipment (800)-221-0516 northerntool.com
1 | Generac, 17,000 Watts, Gasoline | 5735-0 | 2999 | 2999
1 | Plug for 240v Wire (that fits generator) |  | 50 | 50
3049
IF FUNDS ARE AVAILABLE (recommended, but not necessary)
Qty | Hand Tools |  | Unit Cost | Total
1 | Monroe Infrared Heat Find HR | HFHRBW | 7995 | 7995
1 | Tablet Computer (Slate Fujitsu 6012) with Accessories | ST6012 | 1999 | 1999
9994
Qty | Hand Tools |  | Unit Cost | Total
1 | Tool Pouch (maintenance or electrical) |  | 31 | 31
1 | Cordless Drill (Panasonic 15.6 volt) |  | 189 | 189
1 | Cordless Drill Bits (DeWalt Screw & Nut Driver Kit) |  | 23 | 23
1 | Cordless Drill Bits (DeWalt Drill Kit) |  | 28 | 28
1 | Multi-Bit Screwdriver (10-way) |  | 14 | 14
1 | Hammer (20 oz.) Straight Claw |  | 20 | 20
1 | Utility Knife (box cutter) |  | 11 | 11
1 | Tape Measure (25') |  | 14 | 14
1 | Wire Strippers |  | 15 | 15
1 | Lineman Pliers (side cutting) |  | 28 | 28
1 | Pry Bar (large) 12" |  | 11 | 11
1 | Pry Bar/Nail Puller 8" |  | 12 | 12
1 | Adjustable Wrench (medium) 8" |  | 14 | 14
1 | Channel Locks (12") |  | 15 | 15
1 | Tin Snips (combo cut) |  | 12 | 12
1 | Inspection Mirror (round 3 3/4") |  | 14 | 14
1 | Flashlight (LED) Hand Held Rechargable |  | 118 | 118
1 | Flashlight (LED) Hand Held (car charge adapter) |  | 12 | 12
1 | Infrared Thermometer 12:1 Ratio NIST Calibrated |  | 130 | 130
1 | Extension Cord Reel 25' with Multiple Outlets |  | 23 | 23
2 | Extension Cord 50' |  | 26 | 52
2 | Plug Adapter for Ungrounded Outlet |  | 1 | 2
1 | Non-Contact Voltage Meter (TIC 300CC) |  | 16 | 16
1 | Digital Clamp-On Electric Meter |  | 110 | 110
1 | Case for Clamp-On Electric Meter |  | 31 | 31
1 | Electrical Circuit Tester |  | 311 | 311
1 | Cord for Circuit Tester |  | 12 | 12
1 | Battery Charger and (4) AA Rechargeable Batteries |  | 30 | 30
2 | Voltage Meter, DG-3 |  | 19 | 38
1 | AA Battery (Comb Analyzer, PCA, Printer, DG 700, Digital Camera) |  | 10 | 10
1 | AAA Battery (LED Flashlights) 16 pk |  | 10 | 10
1 | C Battery (Monoxer II, Gas Leak Detector) 8 pk |  | 12 | 12
1 | Clipboard with Calculator |  | 30 | 30
1 | Construction Calculator |  | 17 | 17
1415
Qty | Personal Protection Equipment |  | Unit Cost | Total
5 | Tyvek Suit |  | 4 | 20
1 | Shoe Covers (box of 50 pair) |  | 11 | 11
1 | Dust Mask (3M 8271) 10 pk |  | 33 | 33
1 | Hard Hat |  | 5 | 5
1 | Goggles |  | 9 | 9
1 | Knee Pads |  | 20 | 20
1 | Gloves (disposable) 1 box of 50 gloves |  | 12 | 12
1 | Gloves (work) 2 sets |  | 14 | 14
1 | First Aid Kit (OSHA Compliant) #25 Person |  | 56 | 56
1 | Fire Extinguisher |  | 44 | 44
1 | 2006 Code Books (CD w/ all codes and commentary) |  | 475 | 475
1 | HVAC Code Check Laminated Cheat Sheets |  | 18 | 18
1 | OSHA Complete Compliance Package |  | 49 | 49
766
Qty | Other Recommended Equipment |  | Unit Cost | Total
1 | Leica DISTO D3, Laser Distance Meter, or Equivalent |  | 379 | 379
1 | Kestral 4100 Weather Anemometer, or Equivalent |  | 306 | 306
1 | Protimeter Surveymaster Moisture Meter |  | 440 | 440
1 | Boroscope with Viewfinder |  | 299 | 299
1 | Plug-Load Electric Meter |  | 241 | 241
1 | Real-Time Logging Software |  | 88 | 88
1 | Power Cost Monitor |  | 110 | 110
1 | Milliamp Meter (Heat Anticipator Testing) |  | 22 | 22
1 | Duct Sizing Calculator |  | 13 | 13
1 | Tec-Tite Software |  | 150 | 150
1 | Padded Case for Blower Door |  | 285 | 285
1 | Minneapolis Duct Blaster Kit with DG-700 Manometer |  | 1950 | 1950
1 | Fog Machine for Duct Blaster |  | 70 | 70
1 | Fog Machine for Duct Blaster (Fluid) |  | 25 | 25
1 | Fog Machine for Duct Blaster (Timer) |  | 25 | 25
1 | Leatherman Tool |  | 60 | 60
1 | Leatherman Tool (Bit Assortment) |  | 15 | 15
1 | Tool Bag for Hand Tools |  | 30 | 30
1 | Tool Case for Diagnostic Tools |  | 50 | 50
4558
Qty | Vehicle Equipment |  | Unit Cost | Total
1 | GPS (NUVI 660) |  | 489 | 489
1 | Battery Jump Kit |  | 77 | 77
1 | Mechanic's Wrench Kit |  | 78 | 78
644
Qty | Two-Part Foam, Lead Protection, and Other Equipment |  | Unit Cost | Total
1 | Positive Pressure Respirator System |  | 970 | 970
2 | Air Hose 50' |  | 125 | 250
1 | Replacement Hood |  | 22 | 22
1 | Tear-Off Face Shields |  | 14 | 14
1 | HEPA Vac |  | 493 | 493
1 | Garden Sprayer |  | 14 | 14
1 | 6-Mil Plastics (12' x 100') |  | 49 | 49
1 | Zip Wall Pole Kit for Dust Wall |  | 265 | 265
1 | Zip Wall Zipper (3) Pack |  | 36 | 36
2113
* Unit costs are approximate; real prices will vary by company.
| Reference Materials |  | Web Sites
| WX Field Guide(s) (State, Regional, or BPI) |  | Home Energy
| Residential Energy |  | WAPTAC
| Your Mobile Home |  | AEC Knowledge Library
| EEBA Builders Guide |  | Building Science.com
| Save Energy, Save Money |  | Karg.com
| Insulate and Weatherize |  | www.bacharach-training.com
Code Check (HVAC, Elec, Plumb)
| CODE BOOKS (IRC, IFGC, NFPA 211, NFPA 31,IECC, etc.) |  | Conferences
| Combustion Analysis and Fuel Efficiency |  | Affordable Comfort
EEBA
| Cheat Sheets, Forms, Graphics |  | RESNET
Example (Karg.com)
DVD/CD Training
| Magazines |  | Building Better Homes
Home Energy
| Journal of Light Construction |  | Online Training and Videos
| Fine Homebuilding |  | Saturn Resources
| Family Handyman |  | Affordable Comfort
WAPTAC (Weatherization Theater)
Best of Building Science