## NH Variance Requests
Timestamp | Email Address | Grantee Representative Submitting Request: | DOE Project Officer | State/Grantee | Relevant SWS (must include letter(s), e.g. 4.1103.1a) | Indicate which housing type(s) this variance will apply to: SF | MH | MF | Proposed State Standard: | Difference between proposed standard and SWS: | Specific conditions where variance will apply: | Reasoning/Justification: | DOE Review Notes | Approved?
2018-05-25 | kirk.stone@osi.nh.gov | Kirk Stone | Orthwein | NH | 4.1103.1a | Yes | Yes | Yes | NH verifies dense pack insulation using infrared imaging and bag counts for the space. | The proposed NH standard does not utilize chemical smoke to investigate dense pack insulation density. | The NH WAP verifies dense pack insulation density in every case where dense pack insulation is installed. | NH standards require the installer to seal installation holes, so since the QCI is conducted after the installation, the non-invasive methods of infra-red imaging and bag counts are the only practical inspection methods. | This specification only exists in Single Family SWS. Approved 5/29/18 for SF homes. | Yes
2018-05-25 | kirk.stone@osi.nh.gov | Kirk Stone | Orthwein | NH | 4.1103.2a | Yes | Yes | Yes | NH verifies dense pack insulation using infrared imaging and bag counts for the space. | The proposed NH standard does not utilize chemical smoke to investigate dense pack insulation density. | The NH WAP verifies dense pack insulation density in every case where dense pack insulation is installed. | NH standards require the installer to seal installation holes, so since the QCI is conducted after the installation, the non-invasive methods of infra-red imaging and bag counts are the only practical inspection methods. | 4.1103.2a does not address chemical smoke testing, and only applies to Single-Family. 4.1103.2c does, but allows "..other approved verification method..." No variance necessary in this case. | No
2018-05-25 | kirk.stone@osi.nh.gov | Kirk Stone | Orthwein | NH | 4.1103.2e | Yes | Yes | Yes | NH patches interior holes created for the installation of dense pack insulation so that the new surface is "paint ready." | The proposed NH standard does not require patched holes to be finished so that they exactly match the surrounding wall area. | The variance will apply in every case where an interior hole, created for the purpose of accomplishing a weatherization task, is patched. | Installation crews and contractors cannot be expected to match paint, wallpaper, paneling, etc., in an exact manner at job end; better to leave the final finish work to the occupant/client, as long as that occupant/client knows in advance what to expect. | 4.1103.2e only applies to Single Family homes. Approved 5/29/18 for SF homes. | Yes
2018-06-01 | kirk.stone@osi.nh.gov | Kirk Stone | Orthwein | NH | 5.3001.1a | Yes | Yes | Yes | NH is approved to use TREAT as its software auditing and modeling tool; the TREAT outcome will be used in NH to inform heating system size requirements. | NH will rely on TREAT to provide the load calculations required to size a heating system replacement. In a note that comes up in TREAT when doing a report for Heating and cooling loads, TREAT asserts: "The Design Heating and Cooling Load report presents results of the load sizing calculations. TREAT load sizing has been tested in Minimize Calculation Time mode and results were compared to Manual J. TREAT heating and cooling loads proved to be slightly more conservative. Please use professional judgment in applying the results to sizing heating and cooling systems." Please see accompanying Table 1 and associated graphic from website of PSD, publisher of TREAT. | The variance will apply in every situation where heating system sizing calculations are required. | Heating system sizing calculations are built into TREAT, making separate Manual J calculations unnecessary. In addition, TREAT makes it possible to project heating system sizing in a post-weatherized home, something which Manual J users cannot easily do and which allows our Subgrantees to respond to winter heating emergencies by installing a heating system properly sized to the more efficient dwelling which will exist when the full weatherization work on the home has been completed, usually at a somewhat later date. | Approved 6/4/18 | Yes
2018-05-25 | kirk.stone@osi.nh.gov | Kirk Stone | Orthwein | NH | 5.3003.3c | Yes | Yes | Yes | Pressure drop across cooling coils will be in accordance with manufacturer specifications. | Temperature rise will be used instead of pressure testing to identify problems. | All ducted space conditioning systems. | Temperature rise calculations across the heating and cooling system provide adequate air flow diagnostics. | Approved 5/29/18 | Yes
2018-05-25 | kirk.stone@osi.nh.gov | Kirk Stone | Orthwein | NH | 7.8103.1c | Yes | Yes | Yes | New domestic hot water tanks installed in NH will come standard with R-14 tank shell insulation. Additional insulation will be considered only for tanks in unconditioned spaces. Commercially available insulation products will be used if the SIR proves to be 1 or greater. Gas-fired storage tanks will not be wrapped in NH due to previous experience with tank failures when wrapped. | Hot water tanks installed in NH will generally not attain an R-24 insulation value, but the manufacturer-supplied insulation is significant, labor time is reduced, and long-term maintenance required of the client is reduced. | The variance will apply in all hot water tank installations in conditioned spaces. | The extra expense required to purchase and install hot water tank insulation wrap is not justified unless the tank must operate in an unheated space. In addition, NH has significant negative experience with the wrapping of gas water heaters. | Approved 5/29/18 | Yes