## QCI - Final Inspection Form
Quality Control/Final Inspection Report Form | [12 empty] | Revised 5/1/2015
Agency: | [6 empty] | Date home was built:
Single Family
Client name: | [6 empty] | Manufactured
Multi-Family
Address: | [6 empty] | Job Number:
Energy Auditor: | [6 empty] | Date:
QCI Inspector: | [6 empty] | Date:
Field Monitor: | [6 empty] | Date:
Client Interview
[5 empty] | Interim |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
Adequate client education performed: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.8
Client expressed satisfaction with the work & workers: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.5.2
Client understands maintenance/warranty procedures: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.8
Client response :
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Documentation Review
[5 empty] | Interim |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
All required documentation properly completed: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.1.2
All signatures present: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.5.2
Material-labor accounting accurate: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.4.1
Documentation supports proper work flow: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.4.1
Documentation of all worker credentials: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | glossary
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Visual/ Sensory Inspection
[5 empty] | Interim |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
All debris and trash removed from the jobsite: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 1.8.1
No indication of lead dust. LSW pictures in client file: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 1.6.3
_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Health and Safety/Incidental Repairs
[5 empty] | Interim |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
Is the unit ASHRAE 62.2 compliant: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 9.2
Measured CFM: | [12 empty] | 13.7
Are all completed incidental repairs appropriate: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | glossary
Have all health and safety issues been addressed: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.3.1
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Pressure Diagnostics
[5 empty] | Audit |  |  | Final |  |  | Monitor |  | Detail
Blower Door CFM50 | [12 empty] | 12.2.3
Pressure difference to attic 1 | [12 empty] | 12.3.3
Pressure difference to attic 2 | [12 empty] | 12.3.3
Pressure difference to crawl or basement | [12 empty] | 12.3.3
Pressure difference to attached garage | [12 empty] | 12.3.3
Pressure difference to attached porch attic area | [12 empty] | 12.3.3
Other (describe): | [12 empty] | 12.3.3
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Pressure Pan Readings
|  | Audit |  | Final | Monitor |  |  | Detail
Living room | [7 empty] | 8.14.1
Living room | [7 empty] | 8.14.1
Dining room | [7 empty] | 8.14.1
Kitchen | [7 empty] | 8.14.1
Bedroom 1 | [7 empty] | 8.14.1
Bedroom 2 | [7 empty] | 8.14.1
Bedroom 3 | [7 empty] | 8.14.1
Bedroom 4 | [7 empty] | 8.14.1
Bath 1 | [7 empty] | 8.14.1
Bath 2 | [7 empty] | 8.14.1
Other | [7 empty] | 8.14.1
Return 1 | [7 empty] | 8.14.1
Return 2 | [7 empty] | 8.14.1
Return 3 | [7 empty] | 8.14.1
Return 4 | [7 empty] | 8.14.1
Bedroom Pressure Balancing
|  | Audit |  | Final | Monitor |  |  | Detail
Bedroom 1 | [7 empty] | 8.13.3
Bedroom 2 | [7 empty] | 8.13.3
Bedroom 3 | [7 empty] | 8.13.3
Bedroom 4 | [7 empty] | 8.13.3
Bathroom | [7 empty] | 8.13.3
Main Body PD
|  | Audit |  | Final | Monitor |  |  | Field Guide
Main Body | [7 empty] | 8.13.3
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Thermal Boundary-Attic
[5 empty] | Audit |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
Is the attic properly insulated: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 4.2/11.2.1
Attic R-value | [12 empty] | 4.2/11.2.1
Has all air sealing and attic prep been completed: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 4.1
Clearance to combustibles requirements have been met: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 4.1.1
Are ducts in the attic insulated to the minimum of R8: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 8.16
The Certificate of Insulation includes accurate bag count: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.5.2
Has attic access been properly air sealed & insulated: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 4.2.1
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Thermal Boundary-Above Grade Walls
[5 empty] | Audit |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
Are the sidewall insulated: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 5.3.1/11.2.2
If NO, were the sidewalls dense packed: | [7 empty] | ⃝ | ⃝ |  | ⃝ | ⃝ | 5.3.1/11.2.2
Were wall cavities accessed to verify insulation: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 10.3
Was infrared camera used to verify insulation: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.5.2
Is the siding free of workmanship issues: | [7 empty] | ⃝ | ⃝ |  | ⃝ | ⃝ | 5.3.2
The certificate of insulation includes accurate bag count: | [7 empty] | ⃝ | ⃝ |  | ⃝ | ⃝ | 2.5.2
Inspector verified complete coverage: | [7 empty] | ⃝ | ⃝ |  | ⃝ | ⃝ | 5.3.2
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Thermal Boundary-Basement/Crawlspace
[5 empty] | Audit |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
Does crawl space have vapor barrier properly installed: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 1.5.3
Is the rim joist insulated: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 6.3.1
Is foundation wall insulated: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 6.3.4
Is crawlspace ceiling insulated: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 6.3.2
Has proper air sealing been completed: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 6.3.1
Comments:
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Base Load Measures
[5 empty] | Audit |  |  | Final |  |  | Monitor |  | Detail
[5 empty] | Y | N |  | Y | N |  | Y | N
Is lighting retrofit adequate & strategic |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 10.3
Water heater system retrofit was appropriate: |  |  |  |  | ⃝ | ⃝ |  | ⃝ | ⃝ |  | ⃝ | ⃝ | 10.6.1/2/3/4
Final Inspection/Client/Monitoring Response
| Pass | Fail
Inspection 1 | ⃝ | ⃝ | Inspected by QCI: | [8 empty] | Date:
Inspection 2 | ⃝ | ⃝ | Inspected by QCI: | [8 empty] | Date:
IHCDA Inspection | ⃝ | ⃝ | Inspected by QCI: | [8 empty] | Date:
[5 empty] | Y | N
Client verifies satisfaction with the work performed |  |  |  |  | ⃝ | ⃝
Client signature: | [9 empty] | Date:
Rework Punch List Items
1 | [10 empty] | Y | N
2 | [10 empty] | Y | N
3 | [10 empty] | Y | N
4 | [10 empty] | Y | N
5 | [10 empty] | Y | N
6 | [10 empty] | Y | N
Notes:

## Sheet3
Minimum Draft Pressure Requirements
Outdoor Temperature | Inches of water column | Pascals
Greater than 80 degrees F | Negative 0.005 " w.c. | Negative 1 Pa
Between 60 and 80 degrees F. | Negative 0.008" w.c. | Negative 2 Pa
Between 40 and 60 degrees F. | Negative 0.012" w.c. | Negative 3 Pa
Between 20 and 40 degrees F. | Negative 0.016" w.c. | Negative 4 Pa
Less than 20 degrees F. | Negative 0.02" w.c. | Negative 5 Pa
Client Education
SWS Detail
Basic operation of equipment explained to the client |  |  | ⃝ | Done
Operation of thermostat explained to the client |  |  | ⃝ | Done | 2.0702.2
Disconnects and fuel shut offs shown to the client |  |  | ⃝ | Done | 2.0702.2
Proper filter selection and how to change filter will be explained |  |  | ⃝ | Done | 2.0702.2
Location of combustion air inlets identified for client and importance of not blocking inlets explained to the client |  |  | ⃝ | Done | 2.0702.3