DEPARTMENT OF HOUSING & COMMUNITY DEVELOPMENT

DIVISION OF COMMUNITY SERVICES/ENERGY CONSERVATION UNIT

WEATHERIZATION FIELD VISIT REPORT

| Agency |  |  |  |  |  | Job Number: |  |  |  |  |  | Date: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contractor: |  |  |  |  |  | Completed: |  |  |  |  |  | DHCD QCI: |  |  |  |
| Energy Auditor: |  |  |  |  |  | QCI Completed by: |  |  |  |  |  | Agency QCI on-site: |  |  |  |
| In-process: |  | 1st QCI: |  |  | 2nd QCI: |  |  | Callback Required: |  |  | Other visit type: |  |  |  |

| Report To: |  |
| --- | --- |

| Measures | Pass | Fail | Missed Opportunity | SWS Reference | Comments |
| --- | --- | --- | --- | --- | --- |
| Attic Prep (Flags, Rulers) |  |  |  | 4.1001 4.1005 |  |
| Attic Air Sealing |  |  |  | 3.10 |  |
| Chimney Air Sealing |  |  |  | 3.1001.8 |  |
| Recessed Lights |  |  |  | 3.1001.10 |  |
| Attic Hatch/Pull down |  |  |  | 4.1006 |  |
| Attic Damming |  |  |  | 4.1001 |  |
| Attic Insulation - Open |  |  |  | 4.1005 |  |
| Attic - Floored |  |  |  | 4.1005.6 |  |
| Kneewalls |  |  |  | 4.1004 |  |
| Kneewall Transitions |  |  |  | 3.10 |  |
| Slopes |  |  |  | 4.10 |  |
| Kneewall Floor |  |  |  | 4.1005 |  |
| Venting (attic req.) |  |  |  | 4.1088.1 |  |
| Basement Air Sealing |  |  |  | 3.14 |  |
| Duct Sealing |  |  |  | 3.16 |  |
| Band Joist/Sill Insulation |  |  |  | 4.1401 |  |
| Perimeter Insulation |  |  |  | 4.1402 |  |
| Basement Overhead Ins. |  |  |  | 4.1301 |  |
| Garage Overhead Ins. |  |  |  | 4.1301.4 |  |
| Duct Insulation |  |  |  | 4.16 |  |
| Hydro/Steam Pipe Ins |  |  |  |  |  |
| Vapor Barrier |  |  |  | 2.0403 |  |
| Sidewall Insulation |  |  |  | 4.11 |  |
| Windows Weatherstripping |  |  |  | 3.1201 |  |
| Window Repairs |  |  |  | 3.1201 |  |
| Window Replacement |  |  |  | 3.1203 |  |
| Door Weather stripping |  |  |  | 3.1201.3 |  |
| Door Repairs |  |  |  | 3.1201.3 |  |
| Door Replacement |  |  |  | 3.1203.5 |  |
| Repairs |  |  |  |  |  |
| Other ECMs: |  |  |  |  |  |
| Health & Safety Issues: |  |  |  | Section 2 |  |
| Lead Regs Compliance |  |  |  | 2.01 |  |
| Moisture related |  |  |  | 2.04 |  |
| VOC/Asbestos/other H&S |  |  |  | Section 2 |  |
| Electrical-K&T |  |  |  | 2.06 |  |
| Certificate of Insulation |  |  |  |  |  |
| Client Satisfaction |  |  |  |  |  |
| Client File |  |  |  |  |  |
| COMMENTS / OBSERVATIONS: |  |  |  |  |  |

Building Diagnostic Tests

| Agency: |  |  | Pass | Fail | Missed Opportunity |  |  | SWS Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Job #: |  |  |  |  |  |  |  |  |  |  |  |  | Pre |  |  |  |  |  | Post |  |  |  |  |  |  |
| Blower Door Testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pa @ CFM50 |  |  |  |  |  | Pa @ CFM50 |  |  |  |
| Zonal Pressure Testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attic |  | Pa |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Basement |  | Pa |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kneewall |  | Pa |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attached Garage |  | Pa |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  | Pa |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Zero Out: CO Meter, Gas Leak Detector & Personal CO monitor |  |  |  |  |  |  |  | 2.02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gas Leak Inspection |  |  |  |  |  |  |  | 2.02 |  |  |  |  | Check from point of entry to every appliance |  |  |  |  |  | At least 1 location per floor. Bubble solution on leaks. |  |  |  |  |  |  |
| Oil System Inspection |  |  |  |  |  |  |  | 2.02 |  |  |  |  | Visual inspect tank, line & burner |  |  |  |  |  | Look for spills and potential leaks. |  |  |  |  |  |  |
| ASHRAE Requirements |  |  |  |  | Replaced |  |  | Section 6 |  |  |  |  | Established settings for fans: |  |  |  |  |  |  |  |  |  |  |  |  |
| Bath Fan #1 |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bath Fan #2 |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kitchen |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CAZ Testing |  |  |  |  | Pa =/- |  |  | 2.0201 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baseline Pressure #1 |  |  |  |  |  |  |  |  |  |  |  |  | Close CAZ door & all interior doors to rooms that do not have exhaust fans or cold air returns. |  |  |  |  |  |  |  |  |  |  |  |  |
| CAZ Pressure #2 |  |  |  |  |  |  |  |  |  |  |  |  | Turn on all fans/dryer with Air Handler OFF. |  |  |  |  |  |  |  |  |  |  |  |  |
| CAZ Pressure #3 |  |  |  |  |  |  |  |  |  |  |  |  | With Air Handler ON. |  |  |  |  |  |  |  |  |  |  |  |  |
| CAZ Pressure #4 |  |  |  |  |  |  |  |  |  |  |  |  | Choose # with most negative pressure. Open interior door to CAZ |  |  |  |  |  |  |  |  |  |  |  |  |
| Worst Case CAZ |  |  |  |  |  |  |  |  |  |  |  |  | Choose house setup with most Negative pressure (#1,#2,#3,#4) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Spill | Pass / Fail |  | CO ppm |  | Pass / Fail |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Smallest Appliance BTU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Largest Appliance BTU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Both |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kitchen Range |  |  | N/A | N/A |  |  |  |  |  |  |  |  | Burner visual inspection – Oven 500 degrees F @ exhaust port. |  |  |  |  |  |  |  |  |  |  |  |  |
| Clothes Dryer |  |  | N/A | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Duct Testing |  |  |  |  |  |  |  | 5.30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pressure Pan |  |  |  |  |  |  |  |  | Pa |  |  |  |  | Pa |  |  | Pa |  |  | Pa |  |  | Pa |  |
| Duct Leakage |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMMENTS / OBSERVATIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

DEPARTMENT OF HOUSING & COMMUNITY DEVELOPMENT

DIVISION OF COMMUNITY SERVICES/ENERGY CONSERVATION UNIT

DOE WEATHERIZATION CONTRACTOR IN-PROCESS INSPECTION

| Agency: |  | Contractor: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| Job #: |  | QCI or EA: |  | DHCD QCI: |  |

| Report To: |  |
| --- | --- |

|  | Pass | Fail | Comments |
| --- | --- | --- | --- |
| DOE LSW/LEAD RRP Safe Practices being performed |  |  |  |
| Asbestos Notification Form (ANF) if required |  |  |  |
| Building Permit – displayed |  |  |  |
| Crew Chief Credentials: CSL, HIC, LSW, RRP, OSHA 10 |  |  |  |
| Crew Credentials: LSW, RRP, OSHA 10 |  |  |  |
| DOE SWS manual or electronic copy on hand |  |  |  |
| Field Guide – DHCD WAP Manual on hand |  |  |  |

| Standard Work Specifications being met |  |  |  |
| --- | --- | --- | --- |
| General Safe work Practices |  |  |  |
| General work site condition |  |  |  |
| Blower Door & Manometer – Proper use / Acceptable condition |  |  |  |

| Insulation Machine Test | Inches of WC | Pa | Pass | Fail | Comments – Last tested date and by Whom. |
| --- | --- | --- | --- | --- | --- |

| Comments, Observations and or change orders: |  |
| --- | --- |

ON-SITE TRAINING CONDUCTED: If on-site training is conducted by Agency QCI a copy of this form must be submitted to DHCD Technical Field Representative.

| DHCD or Agency QCI: |  |
| --- | --- |
| Training Type Conducted: |  |
| Crew Names: |  |
| Crew Chief signature: |  |