## ND Variance Requests
Timestamp | Email Address | Grantee Representative Submitting Request: | DOE Project Officer | State/Grantee | Relevant SWS (must include letter(s), e.g. 4.1103.1a) | Indicate which housing type(s) this variance will apply to: |  |  | Proposed State Standard: | Difference between proposed standard and SWS: | Specific conditions where variance will apply: | Reasoning/Justification: | DOE Review Notes
2018-02-14 11:09 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 4.1103.2e | Single Family | Manufactured Housing | Multifamily | We will change the portion of 4.1103.2e that requires interior holes to be coated and patched to match original interior surface. Our standard will read: "At a minimum interior holes will be patched and left ready for painting unless homeowner allows other methods i.e. plastic/wood plugs." | We will change the portion of 4.1103.2e that requires interior holes to be coated and patched to match original interior surface. | All housing types | In the majority of cases our clients are willing and able to paint interior holes and/or patches where cavities were accessed. This allows homeowners to be involved with the weatherization activities | Approved 1/4/18
2018-02-14 11:09 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 4.1103.1a | Single Family | Manufactured Housing | Multifamily | We will remove the portion of 4.1103.1a that requires the use of chemcal smoke to verify density and air sealing of cavities. | We will remove the portion of the specification thatrequires the use of chemical smoke to verify proper density of dense pack insulation and cavities are air sealed. | All housing types | Our approved audit software calculates proper density and coverage which covers the objectives for this specification. Our crews use a variety of tubes and other installation methods to assure coverage. Our software contains methods to check density as they proceed with installing the insulation. Insulation blowers are checked for the proper air pressure used when blowing the insulation. We also require all homes to have an infrared scan in conjunction with the blower door after all weatherization work is completed. This provides an additional check for any settling and voids in the insulation as well as any infiltration. | Approved 1/29/18
2018-04-24 12:51 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 2.0107.3a | Single Family | Manufactured Housing | Multifamily | The North Dakota State Specifications will state: Under floor grade will be cleared of all vegetation and organic material that may puncture ground cover. Debris that can cause injury or puncture ground covers will be removed as needed from the crawl space. Care will be taken to prevent punctures during installation. | Adds: that may puncture ground cover, will be removed as needed from the crawl space. Care will be taken to prevent punctures during installation. | All housing types | Removing all debris from crawlspaces can be expensive and time consuming and has no energy savings. We propose moving material that are hazardous to crew or integrity of application. | Approved 4/26/18. This SWS applies only to single-family homes, so no variance is required for MH and MF housing stock.
2018-04-24 13:30 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 2.0107.5b |  | Manufactured Housing |  | 2.0107.5b (Stabilization) will be removed from our Standard Work Specifications. | 2.0107.5b - To have every manufactured home stabilized in accordance with manufacturer specifications would require our state to defer a large majority of this housing type. Weatherization activities can be effectively and safely done on manufactured homes that are not stabilized to manufacturer specs. | Manufactured Housing | 2.0107.5b - Since the inception of the weatherization program, auditors and supervisors have been able to verify if safety is a concern or measures will not be effective. Many manufactured homes are still safe to work under and energy measures are still effective without being stabilized according to manufacturer specifications. The ND WAP has been a leader in Manufactured Home weatherization and we continue to use that expertise in serving the clients that live in this housing type. | Approved 4/26/18.
2018-04-24 13:32 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 2.0301.1b | Single Family | Manufactured Housing | Multifamily | The North Dakota State Specification will state: Smoke detectors will be installed within 15 feet of all bedrooms and a minimum of one on each floor. They will either be mounted on the ceiling or within 12 inches of the ceiling if wall mounted. | Proposing to use our state specification instead of code specifications. Easier than looking up building codes or checking manufacturers instructions on units that may already be installed. | All housing types | The Safety Director at Underwriter Laboratories says "a smoke detector should be installed on each level of your home and outside the sleeping areas." The ND Field Guide shows the placement of alarms. | Approved 4/26/18.
2018-04-24 13:34 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 2.0403.1b | Single Family | Manufactured Housing | Multifamily | The North Dakota State Specification will state: A ground moisture barrier that covers 100% of the exposed crawl space will be installed where accessible. (SWS 2.0403.1b). | The SWS requires that 100% of all exposed crawl space will be covered with a moisture barrier. This would allow our program not defer homes if unable to access all crawlspace areas. | Crawl spaces under all housing types. | In rare cases we have crawl space areas that are inaccessible either due to height restrictions or have no built in access. Although the majority of crawlspaces will be covered with a moisture barrier there are some cases where a portion(s) of the crawlspace cannot be accessed. The ND Weatherization program will not require Weatherization crews to cut through concrete or brick foundation to achieve this task nor will we require crews to excavate dirt to access crawlspace areas that have height restrictions.. The crews would need to explore all possible means to access, i.e. through floor (if allowed by homeowner) or if wood framed foundation exterior access would be required. | Approved 4/26/18. This SWS applies only to single-family homes, so no variance is required for MH and MF housing stock.
2018-04-24 13:36 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 4.1103.1a | Single Family | Manufactured Housing | Multifamily | We will remove the portion of 4.1103.1a that requires the use of chemical smoke to verify density and air sealing of cavities. | We will remove the portion of the specification thatrequires the use of chemical smoke to verify proper density of dense pack insulation and cavities are air sealed. | All housing types | Our approved audit software calculates proper density and coverage which covers the objectives for this specification. Our crews use a variety of tubes and other installation methods to assure coverage. Our software contains methods to check density as they proceed with installing the insulation. Insulation blowers are checked for the proper air pressure used when blowing the insulation. We also require all homes to have an infrared scan in conjunction with the blower door after all weatherization work is completed. This provides an additional check for any settling and voids in the insulation as well as any infiltration. | Approved 4/26/18. This SWS applies only to single-family homes, so no variance is required for MH and MF housing stock.
2018-04-24 13:39 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 4.1103.2e | Single Family | Manufactured Housing | Multifamily | We will change the portion of 4.1103.2e that requires interior holes to be coated and patched to match original interior surface. Our standard will read: "At a minimum interior holes will be patched and left ready for painting unless homeowner allows other methods i.e. plastic/wood plugs." | Difference noted above. | All housing types | In the majority of cases our clients are willing and able to paint interior holes and/or patches where cavities were accessed. This allows homeowners to be involved with the weatherization activities | Approved 4/26/18. This SWS applies only to single-family homes, so no variance is required for MH and MF housing stock.
2018-04-24 13:42 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 5.3003.15 | Single Family | Manufactured Housing | Multifamily | Removal of 5.3003.15. We will remove this section as it it is the same as section 5.3003.2. Specifications in this section are just ordered differently. | Removal | All housing types. | Eliminate redundancy. | No variance needed. When removing an entire SWS, it simply does not apply.
2018-04-24 13:44 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 5.3003.2c, 5.3003.2 i and 5.3003.14d | Single Family | Manufactured Housing | Multifamily | Removal of 5.3003.2c (fuel pressure), 5.3003. 2i (excess air) and 5.3003.14a (gas pressure). Gas/fuel pressure and excess air calculations will only be required as a secondary test if other diagnostic testing shows problems. | ND Furnace field inspection form will be required to be used to verify proper operation, efficiency and safety. | All housing types | We don't think it should be required to check gas and fuel pressure or do excess air calculations on every furnace. If gas/fuel pressure or excess air is incorrect it will be noticed during other diagnostic testing (i.e. carbon monoxide, oxygen, etc.) See attached furnace sheet. (Highlighted sections are required for all WX inspections) | Approved 4/26/18. This SWS applies only to single-family homes and manufactured housing, so no variance is required for MF housing stock.
2018-04-24 13:46 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 6.6188.1f(SF) and 6.6188.2f(MH) | Single Family | Manufactured Housing | Multifamily | Removal of SWS 6.6188.1f(Single Family) and 6.6188.2f(Manufactured Homes) | External static pressure testing will not be included in the maintenance or inspection of the heating system | All housing types | Testing static pressure will only be done as a secondary test. Properly testing heat rise should provide us with enough information to see if static pressure testing is worth the effort. If heat rise falls within the manufacturer's specifications, static pressures should be within operating limits. See attached furnace sheet. (Highlighted sections are required for all inspections) | Approved 4/26/18. This SWS applies only to single-family homes and manufactured housing, so no variance is required for MF housing stock.
2018-04-24 13:48 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | All manufactured housing SWS(s) that reference 2012 IRC and/or local codes |  | Manufactured Housing |  | The North Dakota State Specifications will include the reference "to be installed in accordance with current industry acceptable standards" instead of citing codes. | We will drop all references to the 2012 IRC and any other code references and use the phrase "industry acceptable standards" | Manufactured Housing | To bring this housing type up to code may not be practical or appropriate and the codes were not written for this particular housing type nor do they apply. Durability, safety, and efficiency will continue to be the main focus within the ND Weatherization program. | Declined. Reviewer could find no SWS referencing IRC 2012. Where codes are cited, it is implied that when installing new equipment or measures they will be installed to code, not that we will bring the entire home up to code.
2018-04-24 13:50 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | All SWS(s) that reference 2012 IRC. | Single Family |  | Multifamily | The North Dakota State Specifications will include references to North Dakota State Building Code and/or Local Authority having Jurisdiction. | We will drop all references to the 2012 IRC and reference our state building code and/or the local authority having jurisdiction. | Single Family and Multi-Family | The State of North Dakota has made many amendments to the 2012 IRC within it's state building code. This makes it impractical to cite this within the SWS. We cannot cite a code that is not valid within the state. Being able to reference our state building code and/or the local authority having jurisdiction will also eliminate the need to update all SWS(s) that reference the code every 3 years when a new one is published. | Declined. Reviewer could find no SWS referencing IRC 2012. Where codes are cited, it is implied that when installing new equipment or measures they will be installed to code, not that we will bring the entire home up to code. However, you may reference ND codes in field guides and other resources, instead of the IRC.
2018-04-24 13:52 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 4.1402.2a, and 4.1402.1b | Single Family |  | Multifamily | The ND Field Standard Section 5325 Foundation Insulation will be followed for required R-values | SWS requires insulating to IECC levels, ND proposes alternative levels. | basement walls, foundation walls, crawlspace walls | Trying to meet the Energy Code requirements can be difficult in existing housing. This allows us to choose one of the methods we have used for many years with success. | Approved 4/26/18, though not technically necessary, since WAP rules dictate SIR determines insulation levels, and WAP rules override SWS details.
2018-04-24 13:54 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 7.8103.1c | Single Family | Manufactured Housing | Multifamily | Replace SWS 7.8103.1c with sections 4320, 4330, 4331, and 4332 from existing ND Field Standards – see attached page | No requirement to insulate gas water heaters or pipes on gas water heaters | All housing types | Liability Insurance does not permit agencies to install these materials on existing gas or propane water heaters. It also has been difficult to get appropriate materials to insulate tanks to R-24. | Approved 4/26/18.
2018-08-21 16:46 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 5.3003.3f | Single Family | Manufactured Housing |  | Removal of SWS 5.003.3f | Wet bulb measurements in supply and return will not be required | All housing types where all other testing indicates HVAC system is functioning properly. | Supply and return dry bulb measurements will be recorded. When all other testing indicates the HVAC system is function properly wet bulb temperature measurement is an unnecessary additional test. | Approved with modification to specific conditions where this will apply, 8/28/18. Note: this SWS applies only to SF and MH stock. Column indicating it applied to MF has been revised.
2018-08-21 16:48 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 5.3003.3b | Single Family | Manufactured Housing |  | Removal of SWS 5.003.3b | External static pressure testing will not be included in the maintenance or inspection of the heating system. | All housing types where all other testing indicates HVAC system is functioning properly. | Testing static pressure will only be done as a secondary test. Properly testing heat rise should provide us with enough information to see if static pressure testing is worth the effort. If heat rise falls within the manufacturer's specifications, static pressures should be within operating limits. This also will keep us consistent with 6.6188.1 in the Single Family and 6.6188.2f in the Manufactured Home (Both have been removed through approved variances) | Approved with modification to specific conditions where this will apply, 8/28/18. Note: this SWS applies only to SF and MH stock. Column indicating it applied to MF has been revised.
2018-08-21 16:50 | bahagen@nd.gov | Bruce Hagen | Shawn Green | ND | 5.3003.3c | Single Family | Manufactured Housing |  | Removal of SWS 5.003.3c | Pressure drop across cooling coils will not be included in the maintenance or inspection of the heating system. | All housing types where all other testing indicates HVAC system is functioning properly. | Properly testing heat rise should provide us with enough information to see if pressure drop testing is worth the effort. If heat rise falls within the manufacturer's specifications, pressure drop across cooling coils should be within operating limits. It also requires drilling holes near the coil which poses a high risk of damaging the coil. | Approved with modification to specific conditions where this will apply, 8/28/18. Note: this SWS applies only to SF and MH stock. Column indicating it applied to MF has been revised.