NEW JERSEY DEPARTMENT OF COMMUNITY AFFAIRS                                                                                                    Division of Housing and Community Resources                                                                                                         

Data Collection/Health & Safety Assessment/Educational Material Notification
CLIENT JOB#
CLIENT PHONE NUMBER(S)


DWELLING TYPE
CLIENT NAME

SITE BUILT  
MULTI 1-4 
ADDRESS
MOBILE 
MOBILE
DUPLEX     

# OF OCCUPANTS 
SHELTER 
OTHER

OWNER               RENTER                                   YEAR BUILT 



ASSESSMENT DATE 


PRIMARY HEATING FUEL

             COND. STORIES
             FLOOR AREA 

ASSESSOR NAME  
Client Educational Materials Notification

I have been provided the health and safety educational materials and each one was explained in detail.  All of my questions were addressed and I understand the importance of the materials I have been provided.  I also understand that maintaining a safe and healthy home requires active participation on my part in filter replacement, keeping a sanitary home, using exhaust fans, and maintaining my mechanical equipment and combustion appliance(s).  
Client’s Printed Name:                                                                                                  

Client’s Signature:                             

                                                         
Date:

EXTERIOR BUILDING HEALTH & SAFETY

         DESCRIPTION/ LOCATION/ SEVERITY                                 Deferral (No or Yes)/ Referral Options
	Structural Damage
*See Health & Safety Plan protocols
	
	No/ Yes

	Potential Asbestos Siding
*See Health & Safety Plan protocols
	
	No/ Yes

	Moisture Intrusion Site/ Drainage/ Gutters & Downspouts
*See Health & Safety Plan protocols
	
	No/ Yes

	Pest Intrusion/ Prevention/Removal
*See Health & Safety Plan protocols
	      
	No/ Yes

	Suspected Paint Containing Lead (pre 1978) 

 *Complete LSW & RRP Forms.
	      
	No/ Yes

	Other


	
	No/ Yes


MOBILE HOME WALLS

Length



  Wind Shielding
 



 Outdoor WH Closet           Yes             No
Width



Home Leakiness                                                                           
Height


    Orientation Long Wall  
                                                            
WALL TYPE
                           EXTERIOR TYPE

           EXPOSURE
    EXISTING INSULATION                INSULATION TO ADD
WALLS               WALL TYPE          STUD SIZE           EXTERIOR TYPE        W’ / H’             AREA SQ’           ORIENTATION      EXPOSURE       EXIST INSUL     ADD INSUL


	WALL 01
	
	
	
	
	
	
	
	
	

	WALL 02
	
	
	
	
	
	
	
	
	

	WALL 03
	
	
	
	
	
	
	
	
	

	WALL 04
	
	
	
	
	
	
	
	
	

	WALL 05
	
	
	
	
	
	
	
	
	

	WALL 06
	
	
	
	
	
	
	
	
	

	WALL 07
	
	
	
	
	
	
	
	
	

	WALL 08
	
	
	
	
	
	
	
	
	

	WALL 09
	
	
	
	
	
	
	
	
	

	WALL 10
	
	
	
	
	
	
	
	
	

	WALL 11
	
	
	
	
	
	
	
	
	


WINDOW TYPE       SLIDER                  FRAME TYPE               GLAZING                              INT. SHADE           EXT. SHADE      LEAKINESS
         NUMBER       RETROFIT
· ALL REPLACEMENT WINDOWS MUST HAVE BEFORE AND AFTER PICTURES IN CLIENT FILE.
WINDOWS
WALL #

TYPE

SLIDER
           FRAME          GLAZING
     W” x H”        INT SHADE        EXT SHADE     LEAKINESS         NUMBER
	WINDOW 01
	
	
	
	
	
	
	
	
	
	

	WINDOW 02
	
	
	
	
	
	
	
	
	
	

	WINDOW 03
	
	
	
	
	
	
	
	
	
	

	WINDOW 04
	
	
	
	
	
	
	
	
	
	

	WINDOW 05
	
	
	
	
	
	
	
	
	
	

	WINDOW 06
	
	
	
	
	
	
	
	
	
	

	WINDOW 07
	
	
	
	
	
	
	
	
	
	

	WINDOW 08
	
	
	
	
	
	
	
	
	
	

	WINDOW 09
	
	
	
	
	
	
	
	
	
	

	WINDOW 10
	
	
	
	
	
	
	
	
	
	

	WINDOW 11
	
	
	
	
	
	
	
	
	
	

	WINDOW 12
	
	
	
	
	
	
	
	
	
	

	WINDOW 13
	
	
	
	
	
	
	
	
	
	

	WINDOW14
	
	
	
	
	
	
	
	
	
	


DOOR TYPE

   STORM DOOR
       NUMBER
    MEASURE
SWING

AIR SEAL
  THESHOLD/BUMPER 
HINGE STRIKE   LOCKSET
· ALL REPLACEMENT DOORS MUST HAVE BEFORE AND AFTER PICTURES IN CLIENT FILE.
DOOR
          WALL #
      TYPE                 AREA         STORM DR.       #       MEASURE     SWING      THICK       WIDTH       HEIGHT    THRESH     STRIKE   HINGE   LOCK
	DOOR 01
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	DOOR 02
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	DOOR 03
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	DOOR 04
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	DOOR 05
	
	
	
	
	
	
	
	
	
	
	
	
	
	


DATA FOR WINDOW COUNT BEYOND 15
WINDOW TYPE       SLIDER                  FRAME TYPE               GLAZING                              INT. SHADE           EXT. SHADE
         LEAKINESS
         NUMBER       RETROFIT

· ALL REPLACEMENT WINDOWS MUST HAVE BEFORE AND AFTER PICTURES IN CLIENT FILE.
WINDOWS
WALL #

TYPE

SLIDER
         FRAME           GLAZING
   W” x H”         INT SHADE        EXT SHADE      LEAKINESS
      NUMBER

	WINDOW 15
	
	
	
	
	
	
	
	
	
	

	WINDOW 16
	
	
	
	
	
	
	
	
	
	

	WINDOW 17
	
	
	
	
	
	
	
	
	
	

	WINDOW 18
	
	
	
	
	
	
	
	
	
	

	WINDOW 19
	
	
	
	
	
	
	
	
	
	

	WINDOW 20
	
	
	
	
	
	
	
	
	
	

	WINDOW 21
	
	
	
	
	
	
	
	
	
	

	WINDOW 22
	
	
	
	
	
	
	
	
	
	

	WINDOW 23
	
	
	
	
	
	
	
	
	
	

	WINDOW 24
	
	
	
	
	
	
	
	
	
	

	WINDOW 25
	
	
	
	
	
	
	
	
	
	

	WINDOW 26
	
	
	
	
	
	
	
	
	
	

	WINDOW 28
	
	
	
	
	
	
	
	
	
	

	WINDOW 29
	
	
	
	
	
	
	
	
	
	

	WINDOW 30
	
	
	
	
	
	
	
	
	
	

	WINDOW 31
	
	
	
	
	
	
	
	
	
	

	WINDOW 32
	
	
	
	
	
	
	
	
	
	

	WINDOW 33
	
	
	
	
	
	
	
	
	
	

	WINDOW 34
	
	
	
	
	
	
	
	
	
	

	WINDOW 35
	
	
	
	
	
	
	
	
	
	

	WINDOW 36
	
	
	
	
	
	
	
	
	
	

	WINDOW 37
	
	
	
	
	
	
	
	
	
	

	WINDOW 38
	
	
	
	
	
	
	
	
	
	

	WINDOW 39
	
	
	
	
	
	
	
	
	
	

	WINDOW 40
	
	
	
	
	
	
	
	
	
	


BASEMENT/CRAWLSPACE (HEALTH & SAFETY)              DESCRIPTION/ LOCATION/ SEVERITY                                 Deferral (No or Yes)/ Referral Options
	Structural Damage
*See Health & Safety Plan protocols
	                                                                                                      
	No/ Yes

	Return Duct Work (If not sealed)


	
	No/ Yes

	Electrical/ Fire Hazard

*See Health & Safety Plan protocols
	
	No/ Yes

	Potential Friable Asbestos (Removal or Encapsulation must be done or the unit deferred)
*Test & Correction by AHERA professional only.
	                                                                                                                                                                                  
	No/ Yes

	Exposed Dirt
*Install sealed vapor barrier where site conditions permit.
	                                                                                                                                         
	No/ Yes

	Mold & Moisture and Biological Conditions

*See Health & Safety Plan protocols
	
	No/ Yes

	Clutter/ Access
*Perform removal or correction. Depending on the severity of the clutter.
	                                                                                                                                                        
	No/ Yes

	Other

	
	No/ Yes


FOUNDATIONS
Foundation Type                            
Found Code       Found Type       Floor Area          Existing floor       Sill Joist Size        Perimeter             Found Wall        Height              Perimeter        Existing
                                                           (sq. ft.)                R-Value                 (ft.)                      To Insulate (ft.)    Height (ft.)        Exposed (%)    (ft.)                    R-Value
	FD 01
	
	
	
	
	
	
	
	
	

	FD 02
	
	
	
	
	
	
	
	
	

	FD 03
	
	
	
	
	
	
	
	
	

	FD 04
	
	
	
	
	
	
	
	
	

	FD 05
	
	
	
	
	
	
	
	
	

	FD 06
	
	
	
	
	
	
	
	
	


MOBILE HOME FLOOR
Floor Joist Direction             Lengthwise
          Widthwise
Is there a Skirt?   Yes
    No        
Vapor barrier needed?
Yes          No
Floor Wing Description


Batt Insulation Location                                                                         Belly Configuration 
Belly Condition



             Joist Size (in)                                                                                                 Location                                                   Square                            Good    
                                                                                                                                                                                                       
Loose Insulation (in)                                                                                               Thickness                                                  Rounded                        Average

                                                                                                                                                                                                        Flat                                 Poor
Floor Belly (Center) Description

Batt Insulation Location


             Joist Size (in)                                                                                                 Location                                          Max Depth Belly Cavity (in)

Loose Insulation (in)                                                                                              Thickness

MECHANICAL/APPLIANCE (HEALTH & SAFETY)       
          DESCRIPTION/ LOCATION/ SEVERITY                     Deferral (No or Yes)/ Referral Options
	Heating (CO, Moisture, Electrical, Gas, Operation)

*Complete Heater Survey.
	Use HIP/LIHEAP protocols
	No/ Yes

	Cooling (Moisture, Electrical)


	Use HIP/LIHEAP protocols
	No/ Yes

	Water Heater (CO, Moisture, Electrical, Gas, Operation)

*Complete Heater Survey.
	Use HIP/LIHEAP protocols
	No/ Yes

	Ventilation (Attic, Basement, Local, Dryer, Whole House)

*Complete ASHRAE Checklist & 62.2: Worksheet.
	                                                                                                                                                                                       
	No/ Yes

	Space Heater Removal

*Remove and dispose of unvented space heater. ANSI A21.11.2 labeled secondary units okay.
	                                                                                                                                                                          
	No/ Yes

	Other


	
	No/ Yes


REQUIRED HEATING SYSTEM/ WATER HEATER DETAILS


REQUIRED STOVE CO MEASUREMENTS 






REQUIRED GAS DRYER CO MEASUREMENTS                                                                                

      Oven CO                     Burners CO                 Oven CO                      Burners CO                                          Dryer CO               
                                                                                                                                                             
Ambient CO                                                    Ambient CO                                                                                Ambient CO
Gas Leak Present?          Yes          No


If yes, give the location of the gas leak?  ___________________________________________________________________________                           

                                                                                                               
If yes, have you informed the client and notified their local utility company?            Yes         No
COOLING SYSTEM DETAILS

AC UNIT TYPE
 



AC Code        AC Type              Area Cooled (sq’)          Size (kBTU/hr)           SEER or Yr. Purchased            Manufacturer           Model #                     Serial #
	AC 01
	
	
	
	
	
	
	

	AC 02
	
	
	
	
	
	
	

	AC 03
	
	
	
	
	
	
	

	AC 04
	
	
	
	
	
	
	


BASELOADS

WATER HEATER             Equipment Location      Gallons                            Original Tank                  Original Tank                 Water Heater                  Water Pipe
                                                                                                                             Insulation Thickness      Insulation Type             Wrap Needed                 Wrap Needed
	WH 01
	
	
	
	
	
	

	WH 02
	
	
	
	
	
	

	WH 03
	
	
	
	
	
	

	WH 04
	
	
	
	
	
	


SHOWER HEADS                                                                                                LIGHTING SYSTEM
                                                                                                                                                            
      # Of Shower Heads 
                                                                                   ROOM DESCRIPTION              LOCATION                           LAMP TYPE

Shower Use (min/day)



                Average GPM  

LIGHTING SYSTEM CONTINUED
Light Code
            Room Description          Room Location               Lamp Type                       Quantity                          Size (watts)                   Usage (hr/day)
	LT 01
	
	
	
	
	
	

	LT 02
	
	
	
	
	
	

	LT 03
	
	
	
	
	
	

	LT 04
	
	
	
	
	
	

	LT 05
	
	
	
	
	
	

	LT 06
	
	
	
	
	
	


REFRIGERATOR
                                                      Manufacture                                                 Model #                                                              Year Manufactured 

          

Refrigerator Style                                                Defrost                                       Refrigerator Location            Size (CU FT)       Refrigerator Age       

Available Space Dimensions
Height (in)                                                         Door Type                     Door Swing               Freezer Type         Ice Maker          Door Seal Condition    
Width (in)                                                          Single 
           Right Hand                  Top                          No                    Good                    Visible Gaps 
Depth (in)                                                          Double                           Left Hand                     Bottom                   Yes                   Some Wear
Metered Consumption Only


Metered Minutes                                             Defrost

Meter kWh                                                        Manual defrost    

Room Temp                                                       Includes defrost
                                                                             Cycle

GARAGE/ STORAGE (HEALTH & SAFETY)                         DESCRIPTION/ LOCATION/ SEVERITY                                 Deferral (No or Yes)/ Referral Options
	Garage Air Intrusion 

*Seal all penetrations between garage and living space.
	                                                                                                                    
	No/ Yes

	Return Ducts (if not sealed)

	
	No/ Yes

	Electrical/ Fire Hazard

*See Health & Safety Plan protocols
	
	No/ Yes

	Hazardous Chemicals/VOCs
*High concentrations of hazardous chemicals must be removed from the living space or the unit deferred.
	                                                                                                              
	No/ Yes

	Clutter/Access
*Perform removal or correction. Depending on the severity of the clutter.
	                                                                                                                    
	No/ Yes

	Other


	
	No/ Yes


INTERIOR/COND. SPACE (HEALTH & SAFETY)               DESCRIPTION/ LOCATION/ SEVERITY                                 Deferral (No or Yes)/ Referral Options
	Structural Damage

*See Health & Safety Plan protocols
	
	No/ Yes

	Electrical/Fire Hazard

*See Health & Safety Plan protocols
	
	No/ Yes

	Mold & Moisture and Biological Conditions

*See Health & Safety Plan protocols
	
	No/ Yes

	Clutter/ Access
*Perform removal or correction. Depending on the severity of the clutter.
	
	No/ Yes

	Suspected Paint Containing Lead (pre 1978)

*Complete LSW & RRP Forms.
	
	No/ Yes

	Smoke/CO Alarm

	
	No/ Yes

	Installation of Fire Extinguisher

	
	No/ Yes

	Other


	
	No/ Yes


DUCTS / INFILTRATION
WHOLE HOUSE BLOWER DOOR MEASUREMENTS 







INFILTRATION DEDUCTION MEASURES                                                                                                     





      PRE

                                                           POST

      
                  (Initial)                            TARGET                            (Final)
Air Leakage Rate (CFM) 
At House Pressure Difference (Pa) 
Blower Door Flow Ring

Open

Ring A

Ring B
          Ring C
  
DUCT OPERATING PRESSURE

                                                                       Duct Operating Pressures
After Duct Sealing

                                                                       Before Duct Sealing                                 (Target)                           


                                             Supply (Pa) 
                                   

                                             Return (Pa)

DUCT BLOWER MEASUREMENTS

Before Duct Sealing- Initial
      Total

Outside


After Duct Sealing- Target
Total
                   Outside

               Fan Flow (CFM)                                                                                                              Fan Flow (CFM)
                        Duct Pressure (Pa)
                                                                                                         Duct Pressure (Pa)

Duct Blower Flow Ring

Open

Ring 1

Ring 2

Ring 3

UNINSULATED SUPPLY DUCT

   Duct Location                            Duct Type Rectangular/ Round
       Length                   Width                 Height if Rectangular                  Diameter if Circular

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


MOBILE HOME HEATING DISTRIBUTION DETAILS

MH Duct Location
MH Duct Insulation Location                          System Code

MH Duct Location

 MH Duct Insulation Location                                             
	
	
	

	
	
	

	
	
	










       S 
ATTIC INSPECTION HEALTH & SAFETY                              DESCRIPTION/ LOCATION/ SEVERITY                                 Deferral (No or Yes)/ Referral Options
	Structural Damage

*See Health & Safety Plan protocols
	
	No/ Yes

	Potential Asbestos Vermiculite
*See Health & Safety Plan protocols
	
	No/ Yes

	Return Ducts (sealed as ECM)

	
	No/ Yes

	Electrical/Knob & Tube Hazard
*See Health & Safety Plan protocols
	
	No/ Yes

	Mold & Moisture and Biological Conditions
*See Health & Safety Plan protocols
	
	No/ Yes

	Clutter/ Access
*Perform removal or correction. Depending on the severity of the clutter.
	
	No/ Yes

	Other

	
	No/ Yes


ATTICS

UNFINISHED 
 Attic Type


 Joist Space
   Type
            Material

Attic Code  
       Attic Type                  Joist Space                 Area (SQ Ft)                Type
                        Material                     Depth                         Insulate

	UFA 01
	
	
	
	
	
	
	

	UFA 02
	
	
	
	
	
	
	

	UFA 03
	
	
	
	
	
	
	

	UFA 04
	
	
	
	
	
	
	

	UFA 05
	
	
	
	
	
	
	

	UFA 06
	
	
	
	
	
	
	

	UFA 07
	
	
	
	
	
	
	

	UFA 08
	
	
	
	
	
	
	


FINISHED
Attic Type

                 Floor Type
     Type                  Material  

Attic Code  
       Attic Type                  Floor                            Area (SQ Ft)                Type
                        Material                     Depth                         Insulate

	FA 01
	
	
	
	
	
	
	

	FA 02
	
	
	
	
	
	
	

	FA 03
	
	
	
	
	
	
	

	FA 04
	
	
	
	
	
	
	

	FA 05
	
	
	
	
	
	
	

	FA 06
	
	
	
	
	
	
	

	FA 07
	
	
	
	
	
	
	

	FA 08
	
	
	
	
	
	
	


ATTICS CONTINUED 

Additional Attic Framing Details  






Additional Comments                                                                                           



     Exist
      Add 
                  


Yes
   No


Hatch                                                             Block Recess Lighting                  

Staircase Box                                               Flash chimney Chase                     

Baffles                                                           Duct Exhaust Outside
                                                                       
Foam/ WS Hatch                                         Insulate Exhaust Duct          
                                                                       (Non Conditioned Area) 
Insulate Walk up                                                             
Attic Staircase/                                            Flag Junction Boxes 
Walls                                           
Knee-wall door                                    
Insulate/air-seal                             

                                                                        Attic floor drops
Knee-wall door 

Insulate/ W/S

MOBILE HOME CEILING
Roof Type
         Roof Color

 Existing Insulation      Type

    Color

           Insulation
        Depth (in)
  Roof Height at Center
	
	
	
	
	                              

	
	
	
	
	

	
	
	
	
	


Well	  Normal       Exposed


Tight       Medium      Loose





Tight	  Medium       Loose





Ventilated	Not Ventilated





North      East      South      West





1 None


2 Blown Cellulose


3 Blown Fiberglass





1 None                    5 Fiberglass Batts


2 Bln Cellulose      6 Polystyrene 


3 Bln Fiberglass    7 Other


4 Rockwool





1 Outside


2 Buffered


3 Attic








1 Wood               5 Masonite


2 Metal (Vinyl)  6 Other


3 Stucco


4 Brick








1 Balloon frame       5 Adobe


2 Platform frame    6 Other


3 Masonry/stone


4 Cinder Block








# of windows with the same description on this wall.





EVALUATE ALL








1 Very Tight


2 Tight


3 Medium


4 Loose


5 Very Loose





1 Low E Film


2 Solar Screen


3 Awning


4 Carport


5 Porch


6 None





1 Drapes


2 Blinds/Shades


3 Drapes w/Shades


4 None





1 Single Pane


2 Sngl. Pane W/ Storm


3 Sngl. Pane Bad/Storm


4 Double Pane


5 Dbl. Pane W/Low E





1 Wood / Vinyl


2 Metal


3 Improved Metal











1 Horizontal


2 Vertical


3 Left – Right


4 Right – Left








1 Jalousie


2 Slider


3 Fixed


4 Door Window


5 Door Slider


6 Skylight








1 Deadbolt


2 Knob


3 Combo





1 Reg


2 Lrg





1 Reg


2 NRP





1 ¾ Oak


2 1 Oak


3 1 Bumper


4 1 x 5/8 Bumper


5 ½ Bumper


6 ¾ Bumper





1 Weather strip


2 Sweep


3 Shoe





1 Right Hand


2 Left Hand





1 Repair


2 Replace





# of Doors with the same Description





1 Adequate


2 Deteriorated


3 None








1 H-Core Wood


2 S-Core Wood


3 Insulated Steel


4 Sngl Sliding Glass


5 Dbl Pane Sliding Glass





# of windows with the same description on this wall.





EVALUATE ALL








1 Very Tight


2 Tight


3 Medium


4 Loose


5 Very Loose





1 Low E Film


2 Solar Screen


3 Awning


4 Carport


5 Porch


6 None





1 Drapes


2 Blinds/Shades


3 Drapes w/Shades


4 None





1 Single Pane


2 Sngl. Pane W/ Storm


3 Sngl. Pane Bad/Storm


4 Double Pane


5 Dbl. Pane W/Low E





1 Wood / Vinyl


2 Metal


3 Improved Metal











1 Horizontal


2 Vertical


3 Left – Right


4 Right – Left








1 Jalousie


2 Slider


3 Fixed


4 Door Window


5 Door Slider


6 Skylight








1 Conditioned


2 Non Conditioned


3 Vented Non Conditioned


4 Unintentionally Conditioned


5 Insulated Slab


6 Exposed Floor





1. Attached to Flooring


2. Between Joist


3. Attached Under Joist


4. None





1. Attached to Flooring


2. Between Joist


3. Attached Under Joist


4. Draped Below Joist


5. None





COMPLETE THE HEATER SURVEY AND ENTER DATA INTO THE NEAT/MHEA AUDIT.





1. Central Air	2. Window       3. Heat Pump       4. Evaporative Cooler





1. Family      5. Dining


2. Kitchen    6. Bedroom


3. Living       7. Bathroom


4. Rec           8. Utility





1. Ceiling     5. Closet


2. Floor        6. Other


3. Table


4. Wall





1. Standard


2. Floor


3. Other





1. Heated Space


2. Unconditioned Space


3. Unintentional Heated 





1. Automatic


2. Manual


3. Partial Auto





1. Top Freezer    4.Sngl Door w/Freezer    


2. Side by Side    5. Bottom Freezer


3. Single door     6. Other





1. < 5 Yrs.	3. < 15 Yrs.


2. < 10 Yrs.	4. > 15 Yrs.








________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________





25





25





25





25





25





25





1. Above duct     4. No Insulation 


2. Below duct


3. Around duct





1. Floor


2. Ceiling


3. None





1. Fiberglass


2. Rockwool


3. Cellulose





1. Batts


2. Blown


3. Other





1. 16 in


2. 18 in


3. 24 in








1. Unfloored


2. Floored


3. Cathedral/ Flat





1. Fiberglass


2. Rockwool


3. Cellulose





1. Batts


2. Blown


3. Other





1. Unfloored


2. Floored








1. Outer Ceiling Joist


2. Collar Beam


3. Knee Wall


4. Roof Rafter





________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________





1. Batt/Blanket


2. Loose Fill


3. Foam Core


4. None





1. Reflective


2. Shaded


3. Normal





1. Bowstring


2. Flat


3. Pitched








WAP Chapters 3 and 4 (8/14)
Page 14 of 14

