## QCI Review
Agency: | [8 empty] | Project #:
Monitor: | [6 empty] | Commerce Inspection Date:
Agency Inspector: | [6 empty] | Agency Inspection Date:
Client Name: |  |  |  |  | Owner |  | Renter
Address: |  |  |  |  | Zip Code:
Year Built: |  |  |  | Pre-1978 Home: |  | YES | NO
Housing Type:
Site Built |  | Mobile Home |  | Mobile Home w/add-on |  |  |  | Multi-family
Primary Fuel Type:
Natural Gas |  | Propane | Electric |  |  | Oil | Solid Fuel |  | Other:
WX Application Date: |  |  |  |  | Initial Audit Date: |  |  |  | Recertification App Date:
File Review | [7 empty] | Result |  | Comments
A review of the client file on this project has been completed
All Department of Commerce required documents are included in the client file
Does this file need correction by agency?
File Review Notes:
On-Site Assessment
Measure |  |  |  | Spec |  | Result |  | Comments
Air Sealing
Priority air sealing performed |  |  |  | P5.2.4.A.7.b
Air leakage test verified (preformed) |  |  |  | P5.3.1.A.5
CFM50 results
Visible leakage areas sealed |  |  |  | P5.3.1.A
Zonal pressure test verified |  |  | (preformed) | P5.2.3.A.2
HVAC Duct System
Duct sealing performed |  |  |  | P5.2.4.A.7.c
All visible duct joint sealed |  |  |  | FG3.1602.1c
All accessible boot to interiors sealed |  |  |  | FG3.1602.4a
Duct insulation installed |  |  |  | FG4.1601.2a
Rigid duct min. R-8(TREAT) |  |  |  | FG6.6002.1b
Rigid duct min. R-19(Priority List) |  |  |  | P5.2.4.A.5.c.3
Insulation has vapor barrier |  |  |  | FG4.1601.2a
Distribution system modifications
Pressure pan results verified |  |  |  | P5.2.3.A.2.a
Room to room pressure test verified |  |  |  | P5.2.3.A.4
Ducts properly supported |  |  |  | FG3.1601.3a
Attic Insulation
Attic insulation installed |  |  |  | P5.4.2
Good coverage R-value |  |  |  | FG4.1005.2c
Insulation certificate posted |  |  |  | FG4.1005.2d
Insulation depth markers installed |  |  |  | FG4.1005.2a
Heat Source/ Vent Damming |  |  |  | FG4.1005.2a
Junction box markers present |  |  |  | FG4.1005.2a
Access insulated to same as attic |  |  |  | FG4.1006.2a
Proper access dam |  |  |  | FG4.1006.2a
Attic Access Insulated/Weather-stripped |  |  |  | FG4.1006.2a
Pull down ladder insulated |  |  |  | FG4.1006.1a
Knee wall insulation properly installed |  |  |  | FG4.1004.2b
Knee wall insulated properly covered |  |  |  | FG4.1004.2c
Cavity under knee wall air sealed |  |  |  | FG4.1004.2a
Human Contact Barrier in place |  |  |  | P5.4.1.A.4
Evidence of knob & tube wiring |  |  |  | FG2.0601.1a
Eave vents Baffled |  |  |  | FG4.1001.4a
Plumbing Lines Insulated (R-3) |  |  |  | P5.7.2.A
Evidence of Moisture Problems |  |  |  | P9.6.A.3
Wall Insulation
Walls insulated installed |  |  |  | P5.4.3
Plugs, Patching, & Painting appropriate |  |  |  | P5.4.3.A.5.b
Verified by IR Scan |  |  |  | FG4.1103.2d
Subspace Insulation
Floor insulation installed |  |  |  | P5.4.4
Insulation certificate posted |  |  |  | FG4.1301.1d
Insulation properly installed |  |  |  | FG4.1301.1c
Safety sign posted at entry |  |  |  | FG2.0701.2b
All debris removed from ground |  |  |  | FG2.0111.3a
Ground/Vapor Barrier Installed Properly |  |  |  | FG2.0403.1b
Human Contact Barrier in place |  |  |  | P5.4.1.A.4
Access Insulated to R-19 |  |  |  | P5.4.4.A.4.c
Access Weather-stripped |  |  |  | P5.4.4.A.4.c
Exterior wall sealed |  |  |  | FG3.1402.3b
Plumbing Lines Insulated |  |  |  | P5.7.2.A
Basement Wall Insulation installed |  |  |  | P5.4.4.A.11
Rim joist Insulation to R-19 |  |  |  | P5.4.4.A.10
Evidence of Moisture Problems |  |  |  | P9.6.A.3
Mechanical Ventilation
Matches Mechanical Ventilation WS |  |  |  | P9.3.A.1
CFM Tested and verified
Tested CFM of fans |  |  | 1) |  | 2) |  | 3) |  | 4)
Ducted directly to exterior |  |  |  | FG6.6002.2b
Duct min. R-8 insulation |  |  |  | FG6.6002.1b
Properly supported |  |  |  | FG6.6002.1a
Override control switch labeled |  |  |  | P9.3.A.1.4.c
Pressure balancing for fans verified |  |  |  | FG6.6201.2a
Heating and AC
Heating system replacement |  |  |  | P5.5
Air Conditioning Replacement |  |  |  | P5.5.1
Heating System Tune-Up |  |  |  | P5.5.2.A.3
Air Conditioning Tune–Up |  |  |  | P5.5.1
Wood stove/FP clean and tune |  |  |  | P5.5.4
CAZ Testing Verified |  |  |  | P5.5.2
Set-Back Thermostat |  |  |  | P5.5.8
Heat Pump - DUCTED & DHP
10 HSPF if single head - DHP |  |  |  | P5.5.6.A.1.b
Unit Installed Level |  |  |  | P5.5.6.A.3.d
Unit properly anchored on risers - DHP |  |  |  | P5.5.6.A.3.d
No ducts hooked to unit - DHP |  |  |  | P5.5.6.A.3.i
Penetrations through building sealed |  |  |  | P5.5.6.A.5.d
Refrigeration lines Insulated |  |  |  | P5.5.6.A.5.e
Rigid line hide covering |  |  |  | P5.5.6.A.5.e
Condensate system proper installed |  |  |  | P5.5.6.A.6
Homeowner instruction provided |  |  |  | P5.5.6.A.2.c
Windows/Doors
Number of windows replaced | [5 empty] | 0
Screens installed @ windows |  |  |  | P5.4.5.A.5.b
Safety glass where needed |  |  |  | P5.4.5.7
Number of doors replaced | [5 empty] | 0
Proper type door installed |  |  |  | P5.4.5.5
Exterior bare wood primed |  |  |  | P5.4.5.A.5.c
Proper door finish |  |  |  | P5.4.5.A.11
Lock and deadbolt keyed alike |  |  |  | P5.4.5.A.12
Water Heater
Water heater replacement |  |  |  | P5.7.1
Water Heater Insulation - R24 |  |  |  | FG7.8103.1c
Water Heater Insulation - Priority List R11 |  |  |  | P5.2.4.A.5.c.7
First 6ft of Water Line Insulation |  |  |  | P5.7.2.A.2
Proper PTRV installation |  |  |  | FG7.8103.1e
Other
Low Flow Showerheads |  |  |  | P5.1.5
Lighting - CFLs Installed |  |  |  | P5.7.4
Refrigerator Replacement |  |  |  | P5.7.3
Door Weather-stripping/Thresholds |  |  |  | FG3.1501.1d
Smoke Detectors |  |  |  | P9.5.A.1
Carbon Monoxide Detector |  |  |  | P9.5.A.2
Dryer venting |  |  |  | FG6.6005.1a
Energy Related Repairs |  |  |  | P5.8.1
Other H&S Measures
Other (Describe)
Missed Opportunities
Does this unit need additional attention from the Agency? | [8 empty] | YES | NO
Notes
Corrections
I have entered all file review information into WIDS (Weatherization Information Database System)
I have verified this unit was inspected and signed off by a QCI certified inspector
I have reviewed each component of the Local Agency Final Inspection Form and verified it is in the client file.
I have reviewed and verified the Scope of Work created by the Local Agency and verify it is in the client file.
Commerce Monitor Name:
Signature | [7 empty] | Date:
Washington State Department of Commerce
Weatherization Assistance Program
Quality Assurance Inspection Review Form

## Lists
LISTS:
Acceptable | Benton Franklin CAC | Donn Falconer
Correction | Blue Mountain Action Council | Mike Biever
Comment | Chelan-Douglas CAC | Bill Kraus
NA | City of Seattle- Homewise
No Access | Olympic CAP
Clark County Dept of Community Services
Yes | Coastal CAP
No | Community Action Partnership
NA | CAC of Whitman County
CAC of Lewis, Mason and Thurston
Housing Authority of Skagit County
King County Housing Authority
Kitsap Community Resourses
HopeSource
Washington Gorge Action Program
Lower Columbia CAC
Metropolitan Development Council
Rural Resources CA
Okanogan County CAC
Pierce County Community Connections
Snohomish County Human Services Dept
Spokane Neighborhood Action Partners
Opportunity Council
Yakama Nation Housing Authority
Northwest CAC
Opportunites Industrialization Center
Cowiltz Indian Tribal Housing
Makah Tribal Housing
South Puget Intertribal Planning
Spokane Indian Housing Authiority