| WisWAP BID: | Enter WisWAP BID # | Customer: | Enter customers name |
| --- | --- | --- | --- |
| Auditor: | Enter auditors name | Reviewed by: | Enter reviewers name |

| Yes | Clients Tab | Description (If needed) |
| --- | --- | --- |
| ☐ | Number of occupants matches WHEAP Referral or number documented living in home. If occupant count does not match the WHEAP referral, has the WHEAP agency been informed or has this been discussed with the WHEAP agency? |  |
| ☐ | Dwelling type correct |  |
| ☐ | Primary and Secondary fuel types correct |  |
| ☐ | Customers address is correct in client information and contacts tab |  |
| Yes | Audit Information Tab | Description (If needed) |
| ☐ | Correct libraries selected |  |
| ☐ | Conditioned number of stories correct |  |
| ☐ | Conditioned square feet correct |  |
| ☐ | Comment entered if “billing adjustment” box not selected |  |
| Yes | Status Tab | Description (If needed) |
| ☐ | History of audit runs seem reasonable |  |
| Yes | Shell Tab - Walls | Description (If needed) |
| ☐ | N-S and E-W walls square feet match and are reasonable |  |
| ☐ | Existing wall components and insulation levels match field data collection |  |
| ☐ | Correct “added insulation” type selected |  |
| Yes | Shell Tab - Windows | Description (If needed) |
| ☐ | Existing window components and orientation matches field data collection |  |
| ☐ | Reasonable exterior shading and leakiness values selected |  |
| ☐ | Window dimensions match field data collection |  |
| ☐ | Windows modeled for replacement meet program specifications and documentation provided |  |
| Yes | Shell Tab - Doors | Description (If needed) |
| ☐ | Existing door components and cardinal direction match field data collection |  |
| ☐ | Reasonable storm door condition and leakiness selected; orientations match field data collection |  |
| ☐ | (NEAT )Replacement doors are not selected in Wall tab. Doors to be replaced are modeled in itemized cost tab |  |
| ☐ | (MHEA) Doors modeled for replacement meet program specifications and documentation provided |  |
| Yes | Shell Tab – Unfinished Attics | Description (If needed) |
| ☐ | Attic(s) square footage reasonable for overall building dimensions |  |
| ☐ | Existing attic(s) components and insulation levels match field data collection |  |
| ☐ | Correct “added insulation” type selected |  |
| ☐ | If attic being modeled for insulation is height-restricted, “Added R Value” is not entered; only “Max. Depth” is indicated |  |
| Yes | Shell Tab – Finished Attics | Description (If needed) |
| ☐ | Attic(s) square footage reasonable for overall building dimensions |  |
| ☐ | Existing attic(s) components and insulation levels match field data collection |  |
| ☐ | Correct “added insulation” type selected |  |
| ☐ | If attic being modeled for insulation is depth-restricted, “Added R Value” is not entered; only “Max. Depth” is indicated |  |
| ☐ | All four components of a finished attic are modeled unless field data indicates otherwise |  |
| Yes | Shell Tab – Foundations | Description (If needed) |
| ☐ | Foundation(s) square footage reasonable for overall building dimensions |  |
| ☐ | Existing foundation(s) components and insulation levels match field data collection |  |
| ☐ | Correct foundation type selected |  |
| ☐ | Correct “added insulation” type selected |  |
| ☐ | Sill – Only perimeter modeled is the sill linear footage to receive insulation |  |
| ☐ | Foundation Wall – For exterior foundation insulation, height listed is what is exposed to air plus additional 6 inches. “Height exposed” matches field data collection |  |
| ☐ | Proper foundation Conditioned Selected? |  |
| Yes | Heating Tab | Description (If needed) |
| ☐ | All heating systems (Primary & Secondary) are accounted for and part of the model |  |
| ☐ | Existing heating system testing, fuel, condition and location match field data collection |  |
| ☐ | Replacement system information is accurate (AFUE, Cost, etc.) |  |
| ☐ | If secondary heating systems present, “heat supplied” breakdown is reasonable |  |
| Yes | Ducts/Infiltration Tab | Description (If needed) |
| ☐ | “Before Wx” CFM50 reading matches field data collection |  |
| ☐ | “After Wx” CFM50 target matches diagnostic workbook |  |
| ☐ | Infiltration reduction cost matches agency’s air sealing rate. Comments to explain variation from standard rate |  |
| Yes | Baseloads – Water Heating | Description (If needed) |
| ☐ | Existing equipment information, fuel, and location match field data collection |  |
| ☐ | If model number does not match field data collection, comments are reasonable |  |
| ☐ | Replacement water heater selected is correct model. Correct fuel selected |  |
| ☐ | If “replacement required” selected, “Include in SIR” box is also selected. Comment explains the reason to replace |  |
| Yes | Baseloads – Refrigerators | Description (If needed) |
| ☐ | Existing equipment information, and location match field data collection |  |
| ☐ | Replacement refrigerator selected is correct size |  |
| ☐ | Door seal condition selected matches field data collection and refresh button selected |  |
| Yes | Itemized Cost Tab | Description (If needed) |
| ☐ | All repairs modeled as itemized costs, with comments explaining scope and reason for repair |  |
| ☐ | If cumulative H&S costs exceed $1,000, all H&S costs included in SIR, with comment explaining scope and reasons for H&S measure(s). (Exceptions to $1,000 rule are ventilation, gas leaks, draft/depressurization testing) |  |
| ☐ | Freezer replacement data entered matches freezer replacement calculator |  |
| ☐ | All identified costs (CFL/LED bulbs, flow restrictors, etc.) are entered |  |
| Yes | Utility Bills Tab | Description (If needed) |
| ☐ | Correct fuel type, units, and consumption period are selected/entered |  |
| ☐ | Days in first period equal 365, unless therm calculator was used to normalize some other period; then days provided by calculator are entered |  |
| ☐ | Degree Days Base Temperature is 65 |  |
| ☐ | If gas-using baseload appliances exist in home, monthly average of baseload gas use is entered into baseload box |  |
| ☐ | Month and Day entered are “1” unless Therm Calculator was used to normalize some other period, then month and day provided by calculator are entered |  |
| ☐ | Usage entered matches Therm Calculator |  |

# Enter job specific comments if needed