## GUIDE
SOLICITATION NO. S00R0600023 - State Weatherization Contractor Services for DHCD FINANCIAL PROPOSAL FORM
Background: This requierd Financial Proposal Form requests prices by measure. These proposed prices will be used in determining which Contractor submitted Proposals that are the most advantageous to the State of Maryland. The Contract will require contractors to adhere to this list in operation of the program. Instructions for all Offerors: Respondents shall complete all shaded cells for a price per unit of measure on tabs 1A through 1C. The entry shall be made in the form of a price factor that will be applied to the listed reference price. For example, if the listed reference price is $100 and the Offeror enters a price factor of 0.9, the per unit price will be $90. Prices for all measures shall include the described components and a one (1) year warranty on labor. The estimated quantities are for reference and bidding purposes only and may not reflect the total amount of work to be completed under this contract. Line items 7, 8, and 9 on the Energy Efficiency measures tab are not currently approved for the program, but may be implemented in the next program cycle and replace line items 4, 5, and 6 at that time. Offerors shall complete all yellow shaded cells to provide required information about their firm. Financial Proposals must be executed by an agent authorized to bind the Offeror.
Shaded cell
Shaded cell
|  |  | Total Evaluated Yearly Price (Base Term) | Total Evaluated 3 Year Price (Base Term) | Total Evaluated Yearly Price (Option Year)
Tabs | 1A. Energy Efficiency Measures |  | 200000 | 600000 | 200000
| 1B. Health and Safety Measures |  | 0 | 0 | 0
| 1C. Incidental Repairs |  | 0 | 0 | 0
Total |  |  | 200000 | 600000 | 200000
TOTAL Evaluated Price (3 Year Base & Option) |  |  | 800000
Submitted By:
Offeror Name:
Offeror Address:
FEIN:
Telephone Number:
Email:
Printed Name
Title:
|  | Authorizated Signature |  |  | Date

## 1A. Energy Efficiency Measures
RFP Section 2.3.1 - Requirements for Energy Efficiency Work
Measure | Description | Technical Specifications | Unit of Measure | Price Reference per Unit | Price Factor (Base Term) | Price Factor (Option Year) | Contractor Bid per Unit (Base Term) | Contractor Bid per Unit (Option Year) | Estimated Quantity | Total Item Price (Base Term) | Total Item Price (Option Year)
Home Energy Audit
Tier 1 Home Energy Audit | Comprehensive, visual inspection of home. Includes combustion testing and blower door test. Includes customer education. Energy model required. Includes final quality control inspection. | BPI Home Energy Auditing Standards | each | 300 | 1 | 1 | 300 | 300 | 180 | 54000 | 54000
Tier 2 Home Energy Audit | Comprehensive, visual inspection of home. Includes combustion testing and blower door test. Includes customer education. Full energy model required. Includes final quality control inspection. | BPI Home Energy Auditing Standards | each | 400 | 1 | 1 | 400 | 400 | 280 | 112000 | 112000
Tier 3 Retest | Visual inspection to verify existing conditions. Repeat combustion testing and blower door test. Includes final quality control inspection. | BPI Home Energy Auditing Standards | each | 100 | 1 | 1 | 100 | 100 | 20 | 2000 | 2000
Base Efficiency Energy Audit | Comprehensive, visual inspection of home. Includes combustion testing (if applicable) and customer education. No blower door, and no energy model required. | BPI Home Energy Auditing Standards | each | 250 | 1 | 1 | 250 | 250 | 0 | 0 | 0
Whole Home Eficiency Energy Audit | Comprehensive, visual inspection of home. Includes combustion testing and blower door test. Includes customer education. Full energy model required. Includes final quality control inspection. | BPI Home Energy Auditing Standards | each | 450 | 1 | 1 | 450 | 450 | 0 | 0 | 0
Diagnostic Testing | Building on data from Base Efficiency energy audit for Whole Home Efficiency service. Includes blower door test and energy model. | BPI Home Energy Auditing Standards | each | 200 | 1 | 1 | 200 | 200 | 0 | 0 | 0
MEET Home Visit | Comprehensive visual inspection of home. Data collection on all energy systems. Includes 30 minutes of customer education and bill analysis. Identify need for system adjustments or repairs. No diagnostic testing, and no energy model required. |  | each | 250 | 1 | 1 | 250 | 250 | 80 | 20000 | 20000
MEET Virtual Consultation | Virtual walkthrough of home via videoconferenceing or phone for data collection on energy consumption and existing equipment. Additionally, 30 minutes of customer education and bill analysis. |  | each | 150 | 1 | 1 | 150 | 150 | 80 | 12000 | 12000
Appliances and Baseload
Replace Refrigerator/Freezer Combo, 10-14 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 653 |  |  | 0 | 0 | 1 | 0 | 0
Replace Refrigerator/Freezer Combo, 14.5-18 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 740 |  |  | 0 | 0 | 11 | 0 | 0
Replace Refrigerator/Freezer Combo, 18.5-22 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 1053 |  |  | 0 | 0 | 24 | 0 | 0
Replace Refrigerator/Freezer Combo, 22.5-25 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 1355 |  |  | 0 | 0 | 6 | 0 | 0
Upright Freezer, 12-16 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 703 |  |  | 0 | 0 | 1 | 0 | 0
Upright Freezer, 16.1-20 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 834 |  |  | 0 | 0 | 1 | 0 | 0
Chest Freezer, 3.5 - 6 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 191 |  |  | 0 | 0 | 1 | 0 | 0
Chest Freezer, 6.1 - 10 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 370 |  |  | 0 | 0 | 1 | 0 | 0
Chest Freezer, 10.1 - 16 cubic foot | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 601 |  |  | 0 | 0 | 2 | 0 | 0
Replace Existing Dehumidifier | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty * Min. capacity of 70 pints | each | 347 |  |  | 0 | 0 | 1 | 0 | 0
Replace Washing Machine | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 984 |  |  | 0 | 0 | 4 | 0 | 0
Replace Dishwasher | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 622 |  |  | 0 | 0 | 4 | 0 | 0
Replace Dryer | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * CEE qualified * One year manufacturer warranty | each | 987 |  |  | 0 | 0 | 31 | 0 | 0
Install Advanced Power Strip | Includes installation and homeowner education. | * Master-controlled | each | 35 |  |  | 0 | 0 | 314 | 0 | 0
Replace Ceiling Fan | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * LED lighting only * One year manufacturer warranty | each | 251 |  |  | 0 | 0 | 1 | 0 | 0
Replace Ceiling Fan w Lighting | Includes labor and material to install unit, remove, haul away and dispose of existing unit as per local/State code/laws. | * Energy Star certified * LED lighting only * One year manufacturer warranty | each | 300 |  |  | 0 | 0 | 10 | 0 | 0
Attic
Attic Hatch Treatment - R-19 | Includes: Insulation, Weatherstripping, caulking trim, and mechanical fastening | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 18 |  |  | 0 | 0 | 23 | 0 | 0
Attic Hatch Treatment - R-30 | Includes: Insulation, Weatherstripping, caulking trim, and mechanical fastening | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 22 |  |  | 0 | 0 | 27 | 0 | 0
Attic Hatch Treatment - R-38 | Includes: Insulation, Weatherstripping, caulking trim, and mechanical fastening | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 28 |  |  | 0 | 0 | 25 | 0 | 0
Attic Hatch Treatment - R-49 | Includes: Insulation, Weatherstripping, caulking trim, and mechanical fastening | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 33 |  |  | 0 | 0 | 1196 | 0 | 0
Attic Knee Wall Door Treatment - R-13 Insulation | Includes: Insulation, Weatherstripping, caulking trim, and mechanical fastening | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 71 |  |  | 0 | 0 | 11 | 0 | 0
Attic Knee Wall Door Treatment - R-19 Insulation | Includes: Insulation, Weatherstripping, caulking trim, and mechanical fastening | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 81 |  |  | 0 | 0 | 23 | 0 | 0
Attic Pull Down Stair Cover - R-19 | Install Tent or Cover, Insulation, (weatherstrip, and tight against the ceiling(barrell bolts/latch/etc..) | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation - OR - Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 136 |  |  | 0 | 0 | 1 | 0 | 0
Attic Pull Down Stair Cover - R-30 | Install Tent or Cover, Insulation, (weatherstrip, and tight against the ceiling(barrell bolts/latch/etc..) | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation - OR - Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 148 |  |  | 0 | 0 | 2 | 0 | 0
Attic Pull Down Stair Cover - R-38 | Install Tent or Cover, Insulation, (weatherstrip, and tight against the ceiling(barrell bolts/latch/etc..) | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation - OR - Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 161 |  |  | 0 | 0 | 2 | 0 | 0
Attic Pull Down Stair Cover - R-49 | Install Tent or Cover, Insulation, (weatherstrip, and tight against the ceiling(barrell bolts/latch/etc..) | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation - OR - Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 194 |  |  | 0 | 0 | 52 | 0 | 0
Install Knee Wall Insulation - R-13 Faced Batt | Remove existing insulation, if not salvageable. Price includes labor and material to attach unfaced batts as per SWS. | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 1.3 |  |  | 0 | 0 | 2575 | 0 | 0
Insulation Attic Knee Wall Backing - EPS Foam Board Barrier 1" (Attic) | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 1.9 |  |  | 0 | 0 | 1280 | 0 | 0
Insulation Attic Knee Wall Backing - EPS Foam Board Barrier 2" (Attic) | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.1 |  |  | 0 | 0 | 140 | 0 | 0
Insulation Attic Knee Wall Backing - EPS Foam Board Barrier 3" (Attic) | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 3 |  |  | 0 | 0 | 16 | 0 | 0
Insulation Attic Knee Wall Backing - Polyiso Foam Board Barrier 1" (Attic) | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.3 |  |  | 0 | 0 | 3553 | 0 | 0
Insulation Attic Knee Wall Backing - Polyiso Foam Board Barrier 2" (Attic) | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.7 |  |  | 0 | 0 | 658 | 0 | 0
Insulation Attic Knee Wall Backing - Polyiso Foam Board Barrier 3" (Attic) | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 4 |  |  | 0 | 0 | 298 | 0 | 0
Insulation - Install R-11 Cellulose(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation | sq ft | 1.2 |  |  | 0 | 0 | 1167 | 0 | 0
Insulation - Install R-11 Fiberglass(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 1.2 |  |  | 0 | 0 | 1614 | 0 | 0
Insulation - Install R-11 Dense Pack Cellulose under Storage Platform (Attic) | Includes: Install insulation mateiral . Signed certificate of achieved R-value and install date | * Materials must Meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.3 |  |  | 0 | 0 | 950 | 0 | 0
Insulation - Install R-11 Dense Pack Fiberglass under Storage Platform (Attic) | Includes: Install insulation mateiral . Signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.1 |  |  | 0 | 0 | 167 | 0 | 0
Insulation - Install R-19 Cellulose(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 1.5 |  |  | 0 | 0 | 17293 | 0 | 0
Insulation - Install R-19 Fiberglass(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 1.5 |  |  | 0 | 0 | 15779 | 0 | 0
Insulation - Install R-19 Dense Pack Cellulose(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must Meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.9 |  |  | 0 | 0 | 3512 | 0 | 0
Insulation - Install R-19 Dense Pack Fiberglass(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.7 |  |  | 0 | 0 | 2236 | 0 | 0
Insulation - Install R-30 Cellulose(Attic) | Includes: Install insulation mateiral junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2 |  |  | 0 | 0 | 35570 | 0 | 0
Insulation - Install R-30 Fiberglass(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 1.9 |  |  | 0 | 0 | 48745 | 0 | 0
Insulation - Install R-38 Cellulose(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.3 |  |  | 0 | 0 | 37629 | 0 | 0
Insulation - Install R-38 Fiberglass(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.3 |  |  | 0 | 0 | 53989 | 0 | 0
Insulation - Install R-49 Cellulose(Attic) | Includes: Install insulation mateiral , junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.7 |  |  | 0 | 0 | 15119 | 0 | 0
Insulation - Install R-49 Fiberglass(Attic) | Includes: Install insulation mateiral, junction box flags, insulation level rulers/markers, signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation *Comply with 16 CFR 460.17 | sq ft | 2.6 |  |  | 0 | 0 | 18695 | 0 | 0
Distribution
Duct Insulation - R-8 Wrap | For ducting in unconditioned spaces (attic and crawls), foil faced fiberglass, will have a minimum of R-8 |  | sq ft | 2.55 |  |  | 0 | 0 | 8278 | 0 | 0
Duct Sealing - Mastic | All accessible joints, seams, connections. Includes prices for mesh tape where needed and dictated by SWS | * Material must be UL181BM Rated | lf | 2.2 |  |  | 0 | 0 | 53171 | 0 | 0
Steam Pipe Insulation Minimum R-12.7 | 100% coverage, mitered corners, seams sealed. Minimum 2" thick with self sealing lap, R 12.7 | * Install as per manufacturer specifications | lf | 5.4 |  |  | 0 | 0 | 45 | 0 | 0
Boiler Pipe Insulation - R-7 Wrap on Hot Water Boiler Pipes | 100% coverage, mitered corners, seams sealed | * Install as per manufacturer specifications | lf | 5.4 |  |  | 0 | 0 | 45 | 0 | 0
Floors
Crawlspace Hatch/Door - R-21 Insulation | If crawl is encapsulated or floor access from conditioned space only | * Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 148 |  |  | 0 | 0 | 5 | 0 | 0
Insulation - Install Polyiso Foam Board 1" | Rigid air barrier, mechanically fastened to underside of floor assembly, providing 100% coverage of the floor assembly, all seams sealed | * Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.2 |  |  | 0 | 0 | 18000 | 0 | 0
Insulation - Install Polyiso Foam Board 2" | Rigid air barrier, mechanically fastened to underside of floor assembly, providing 100% coverage of the floor assembly, all seams sealed | * Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 3 |  |  | 0 | 0 | 4000 | 0 | 0
Insulation - Install Polyiso Foam Board 3" | Rigid air barrier, mechanically fastened to underside of floor assembly, providing 100% coverage of the floor assembly, all seams sealed | * Must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 3.9 |  |  | 0 | 0 | 1000 | 0 | 0
Insulation - Install Spray Foam 2" | Includes labor and materials for prep, installation and clean up. Use 2-Part, closed cell spray foam | * Must meet AC 377 ~ Acceptance Criteria for Spray-Applied Foam Plastic Insulation published by the International Code Council Evaluation Service (ICC-ES) | sq ft | 2.8 |  |  | 0 | 0 | 996 | 0 | 0
Insulation - Install Spray Foam 3" | Includes labor and materials for prep, installation and clean up. Use 2-Part, closed cell spray foam | * Must meet AC 377 ~ Acceptance Criteria for Spray-Applied Foam Plastic Insulation published by the International Code Council Evaluation Service (ICC-ES) | sq ft | 3.8 |  |  | 0 | 0 | 1661 | 0 | 0
Insulation - Install R-11 Fiberglass Batt | Price includes labor and all material to attach unfaced batts as per SWS | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 1.1 |  |  | 0 | 0 | 527 | 0 | 0
Insulation - Install R-11 Dense Pack Cellulose | Price includes labor and all materials to prep for dense packing at 3.5 lbs/cu. ft. | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation | sq ft | 2.1 |  |  | 0 | 0 | 6 | 0 | 0
Insulation - Install R-13 Fiberglass Batt | Price includes labor and all material to attach unfaced batts as per SWS | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 1.3 |  |  | 0 | 0 | 1 | 0 | 0
Insulation - Install R-13 Dense Pack Cellulose | Price includes labor and all materials to prep for and dense pack at 3.5 lbs/cu. ft. | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation | sq ft | 2.2 |  |  | 0 | 0 | 21 | 0 | 0
Insulation - Install R-13 Dense Pack Fiberglass | Price includes labor and appropriate dense pack fiberglass materials to R-4/inch. Provide cut sheet for insulation. | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation | sq ft | 2.2 |  |  | 0 | 0 | 247 | 0 | 0
Insulation - Install R-19 Fiberglass Batt | Price includes labor and material to attach unfaced batts as per SWS | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 1.7 |  |  | 0 | 0 | 25742 | 0 | 0
Insulation - Install R-19 Dense Pack Cellulose | Price includes labor andall materials to dense pack at 3.5 lbs/cu. ft. | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation | sq ft | 2.7 |  |  | 0 | 0 | 793 | 0 | 0
Insulation - Install R-19 Dense Pack Fiberglass | Price includes labor and appropriate dense pack fiberglass materials to R-4/inch. Provide cut sheet for insulation. | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation | sq ft | 2.7 |  |  | 0 | 0 | 634 | 0 | 0
Insulation - Install R-30 Fiberglass Batt | Price includes labor and material to attach unfaced batts as per SWS | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 2 |  |  | 0 | 0 | 6865 | 0 | 0
Heating and Cooling
Install Smart Thermostat | Forced air or heat pumps only. Replacement must be installed, tested and placed in service. Owner/operator education required and included in price. Enroll client in applicable utility programs. | * Energy Star certified * Minimum 1 year manufacturer warranty from date of install | each | 390 |  |  | 0 | 0 | 88 | 0 | 0
Clean and Tune - A/C | Includes inspection of electrical connections and refrigerant lines, vacuum coils and chemical clean as necessary, inspect and service all drains and condensate pump, check refrigerant level, test unit defrost if equipped, inspect safety devices, ensure proper insulation of refrigerant lines, lubricate motor and moving parts, clean and test thermostat, replace air filter, place sticker on the unit indicating service details. |  | each | 248 |  |  | 0 | 0 | 148 | 0 | 0
Clean and Tune - Heat Pump | Includes inspection of electrical connections and refrigerant lines, vacuum indoor and outdoor coils and chemical clean as necessary, inspect and service all drains and condensate pump, check refrigerant level, test emergency heat system and unit defrost if equipped, inspect safety devices, ensure proper insulation of refrigerant lines, lubricate motor and moving parts, clean and test thermostat, replace air filter, place sticker on the unit indicating service details. |  | each | 256 |  |  | 0 | 0 | 64 | 0 | 0
Clean and Tune - Natural Gas Heating System | Includes combustion efficiency and smoke tests before and after service, clean and vacuum system, inspect all control devices, test for gas leaks, clock gas meter, test manifold pressure, inspect for cracked heat exchanger, inspect electrical connections and safety devices, inspect chimney and smoke pipes and clean as necessary, inspect flue vent damper and draft controls, lubricate motor and moving parts, clean and test thermostat, replace air filter, place sticker on the unit indicating service details. If applicable, bleed radiators, clean and level sight glass. MEAP program only. BGE or MEAP only. |  | each | 338 |  |  | 0 | 0 | 118 | 0 | 0
Furnace Replacement - Gas AFUE 80% (Output 45KBTU-75KBTU) | Only to be installed, where higher efficiency unit is not possible. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 1 year manufacturer warranty from date of install including a 10 year warranty on heat exchanger. | each | 3053 |  |  | 0 | 0 | 5 | 0 | 0
Furnace Replacement - Gas AFUE 80% (Output higher than 75KBTU) | Only to be installed, where higher efficiency unit is not possible. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 1 year manufacturer warranty from date of install including a 10 year warranty on heat exchanger. | each | 3363 |  |  | 0 | 0 | 3 | 0 | 0
Furnace Replacement - Gas AFUE 95% (Output 45KBTU-80KBTU) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 1 year manufacturer warranty from date of install including a 10 year warranty on heat exchanger. | each | 4083 |  |  | 0 | 0 | 25 | 0 | 0
Furnace Replacement - Gas AFUE 95% (Output higher than 80KBTU) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 1 year manufacturer warranty from date of install including a 10 year warranty on heat exchanger. | each | 4527 |  |  | 0 | 0 | 5 | 0 | 0
Gas Boiler Replacement - 85% AFUE (Output 40 - 80 KBTU) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 10 year manufacturer warranty on tank from date of manufacture. * Minimum 1 year manufacturer warranty on parts from the date of purchase. | each | 5690 |  |  | 0 | 0 | 1 | 0 | 0
Gas Boiler Replacement - 85% AFUE (Output higher than 80 KBTU) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 10 year manufacturer warranty on tank from date of manufacture. * Minimum 1 year manufacturer warranty on parts from the date of purchase. | each | 6385 |  |  | 0 | 0 | 1 | 0 | 0
Gas Boiler Replacement - 90%+ AFUE (Output 40 - 80 KBTU) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 10 year manufacturer warranty on tank from date of manufacture. * Minimum 1 year manufacturer warranty on parts from the date of purchase. | each | 6173 |  |  | 0 | 0 | 3 | 0 | 0
Gas Boiler Replacement - 90%+ AFUE (Output higher than 80 KBTU) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum 10 year manufacturer warranty on tank from date of manufacture. * Minimum 1 year manufacturer warranty on parts from the date of purchase. | each | 7301 |  |  | 0 | 0 | 1 | 0 | 0
Integrated Boiler | Hot water boiler with domestic water coil to produce domestic hot water. 90+ AFUE | * Minimum 90% AFUE *Install as per code and local jurisdiction having authority | each | 8000 |  |  | 0 | 0 | 5 | 0 | 0
Heat Pump Replacement - ASHP (Output 24k/24k) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * HSPF9, SEER 16 * Minimum 1 year manufacturer warranty from date of install | each | 5735 |  |  | 0 | 0 | 19 | 0 | 0
Heat Pump Replacement - ASHP (Output 36k/36k) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * HSPF9, SEER 16 * Minimum 1 year manufacturer warranty from date of install | each | 6222 |  |  | 0 | 0 | 9 | 0 | 0
Heat Pump Replacement - ASHP (Output 48k/48k) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * HSPF9, SEER 16 * Minimum 1 year manufacturer warranty from date of install | each | 6730 |  |  | 0 | 0 | 1 | 0 | 0
Central A/C Replacement - 2 ton | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * SEER 16 * Minimum 1 year manufacturer warranty from date of install * | each | 4503 |  |  | 0 | 0 | 8 | 0 | 0
Central A/C Replacement - 3 ton | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * SEER 16 * Minimum 1 year manufacturer warranty from date of install | each | 4969 |  |  | 0 | 0 | 13 | 0 | 0
Central A/C Replacement - 4-5 ton | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * SEER 16 * Minimum 1 year manufacturer warranty from date of install *Permits as required by local jurisdiction having authority | each | 5707 |  |  | 0 | 0 | 2 | 0 | 0
Ductless Mini-Split Heat Pump Replacement (Output 24k/24k) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * HSPF 9.0 or higher * SEER 17 or higher * Minimum 1 year manufacturer warranty from date of install | each | 6656 |  |  | 0 | 0 | 1 | 0 | 0
Ductless Mini-Split Heat Pump Replacement (Output 36k/36k) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * HSPF 9.0 or higher * SEER 17 or higher * Minimum 1 year manufacturer warranty from date of install | each | 7205 |  |  | 0 | 0 | 1 | 0 | 0
Ductless Mini-Split Heat Pump Replacement (Output 48k/48k) | Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits, installing thermostats, and other repairs such as listed under health and safety or incidental repairs are priced separately. | * HSPF 9.0 or higher * SEER 17 or higher * Minimum 1 year manufacturer warranty from date of install | each | 7850 |  |  | 0 | 0 | 1 | 0 | 0
Replace Window AC - 5000 - 7999 KBTU | Price includes all materials and labor to install, test and place unit in service. Includes evaluation of electrical recepticle the unit will be plugged into. Other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * Minimum 1 year manufacturer warranty from date of install * CEE qualified | each | 345 |  |  | 0 | 0 | 38 | 0 | 0
Replace Window AC - 8000 - 12000 KBTU | Price includes all materials and labor to install, test and place unit in service. Includes evaluation of electrical recepticle the unit will be plugged into. Other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * Minimum 1 year manufacturer warranty from date of install * CEE qualified | each | 432 |  |  | 0 | 0 | 26 | 0 | 0
Hot Water
Install Faucet Aerators | Replace aerators if existing aerators are greater than 1.5 gpm. Ensure leakfree installation. | * 1.5 GPM or less | each | 5.1 |  |  | 0 | 0 | 751 | 0 | 0
Install Low Flow Showerhead Fixed | Replace if existing showerhead is greater than 1.75 gpm. Ensure leakfree installation. | * 1.75 GPM or less | each | 25 |  |  | 0 | 0 | 219 | 0 | 0
Install Low Flow Showerhead Handheld | Replace if existing showerhead is greater than 1.75 gpm. Ensure leakfree installation. | *1.75 GPM or less | each | 35 |  |  | 0 | 0 | 228 | 0 | 0
Install Thermostatic Shutoff Valve | Install with existing or new showerhead. Ensure leakfree installation. | * Provide spec sheet | each | 35 |  |  | 0 | 0 | 169 | 0 | 0
Adjust Water Heater Setting to 120 degrees | Set back temp if current temp exceeds 120 degrees F | * Set to 120 degrees | each | 10 |  |  | 0 | 0 | 14 | 0 | 0
Install Water Pipe insulation (1/2-3/4"). | Corners mitered and all seams taped | * Minimum requirement R-2, polyethylene. | lf | 1.4 |  |  | 0 | 0 | 11917 | 0 | 0
Install Water Heater Blanket | Install per manufacturer specifications, tape all seams, label with DHW specifications. Install tank top for electric tanks only | * R-11 for tanks in unconditioned spaces | each | 68 |  |  | 0 | 0 | 22 | 0 | 0
Gas Water Heater Replacement - 30 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1227 |  |  | 0 | 0 | 2 | 0 | 0
Gas Water Heater Replacement - 40 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1669 |  |  | 0 | 0 | 1 | 0 | 0
Gas Water Heater Replacement - 50 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1458 |  |  | 0 | 0 | 2 | 0 | 0
Gas Water Heater Replacement - 80 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1557 |  |  | 0 | 0 | 1 | 0 | 0
Gas Tankless Water Heater Replacement - up to 5 GPM | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1309 |  |  | 0 | 0 | 1 | 0 | 0
Gas Tankless Water Heater Replacement - up to 5.1 - 8 GPM | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1494 |  |  | 0 | 0 | 1 | 0 | 0
Gas Tankless Water Heater Replacement - higher than 8 GPM | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1764 |  |  | 0 | 0 | 1 | 0 | 0
Electric Water Heater Replacement - 30 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum UEF 0.92 * 6 year manufacturer warranty | each | 888 |  |  | 0 | 0 | 1 | 0 | 0
Electric Water Heater Replacement - 50 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum UEF 0.92 * 6 year manufacturer warranty | each | 971 |  |  | 0 | 0 | 1 | 0 | 0
Electric Water Heater Replacement - 80 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Minimum UEF 0.92 * 6 year manufacturer warranty | each | 1164 |  |  | 0 | 0 | 1 | 0 | 0
Heat Pump Water Heater - 30 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 1869 |  |  | 0 | 0 | 4 | 0 | 0
Heat Pump Water Heater - 50 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 2283 |  |  | 0 | 0 | 16 | 0 | 0
Heat Pump Water Heater - 80 Gallons | Replaces existing water heater of similar size. Price includes all materials and labor to install, test and place unit in service under normal conditions. Permits and other repairs such as listed under health and safety or incidental repairs are priced separately. | * Energy Star certified * 6 year manufacturer warranty | each | 2663 |  |  | 0 | 0 | 2 | 0 | 0
Infiltration
Blower door guided air sealing | Includes window and door weatherstripping or hardware adjustment / repair, as needed |  | CFM | 0.9 |  |  | 0 | 0 | 288814 | 0 | 0
Energy Recovery Ventilator | Includes all necesary materials and labor to install, test and place in service (includes electrical and structural support) | *100-200 CFM capacity *MERV 8 filter standard *5 year manufacturer warranty | Each | 675 |  |  | 0 | 0 | 50 | 0 | 0
Heat Recovery Ventilator | Includes all necesary materials and labor to install, test and place in service (includes electrical and structural support) | *100-200 CFM capacity *MERV 8 filter standard *5 year manufacturer warranty | Each | 675 |  |  | 0 | 0 | 50 | 0 | 0
Lighting
LED - 11W A-type | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 6 |  |  | 0 | 0 | 1242 | 0 | 0
LED - 11W R30 | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 6.6 |  |  | 0 | 0 | 888 | 0 | 0
LED - 15W A-type | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 7.4 |  |  | 0 | 0 | 255 | 0 | 0
LED - 17W R40 | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 7.7 |  |  | 0 | 0 | 93 | 0 | 0
LED - 5W Candle | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 6.1 |  |  | 0 | 0 | 1692 | 0 | 0
LED - 6W Globe | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 5.9 |  |  | 0 | 0 | 1192 | 0 | 0
LED - 9/11/15W 3-Way | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 7.6 |  |  | 0 | 0 | 56 | 0 | 0
LED - 9W A-type | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 5.7 |  |  | 0 | 0 | 8886 | 0 | 0
LED - Recessed Trim Kit 11W | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 29.4 |  |  | 0 | 0 | 11 | 0 | 0
LED - Recessed Trim Kit 15W | Remove light fixture cover, remove existing bulb, Install new bulb, wipe fixture cover if needed, re-install fixture cover, recycle old bulb. | * Energy Star certified | each | 33.5 |  |  | 0 | 0 | 1 | 0 | 0
TLED - 2ft | Remove light fixture cover, remove existing fluorescent lamp and ballast, install new lamp and driver, wipe fixture cover if needed, re-install fixture cover, recycle old lamp. | * DLC listed * Type C | each | 30 |  |  | 0 | 0 | 9 | 0 | 0
TLED - 4ft | Remove light fixture cover, remove existing fluorescent lamp and ballast, install new lamp and driver, wipe fixture cover if needed, re-install fixture cover, recycle old lamp. | * DLC listed * Type C | each | 40 |  |  | 0 | 0 | 73 | 0 | 0
Install Occupancy Sensor | Remove existing light switch and replace with IR occupancy or vacancy sensor. Adjust sensor settings per occupant preferences Install sensors only in agreement with homeowner. | * Sensor cannot have manual override. Provide spec sheet * PIR technology | each | 63 |  |  | 0 | 0 | 1 | 0 | 0
Install LED Night Light | Remove existing incandescent light and replace with LED night light. | * LED * Daylight sensor, no manual switch | each | 3 |  |  | 0 | 0 | 10 | 0 | 0
Walls
Wall Insulation - Install Polyiso Foam Board 1" | Includes labor and material to install to SWS | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.1 |  |  | 0 | 0 | 54 | 0 | 0
Wall Insulation - Install Polyiso Foam Board 2" | Includes labor and material to install to SWS | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.8 |  |  | 0 | 0 | 192 | 0 | 0
Wall Insulation - Install Polyiso Foam Board 3" | Includes labor and material to install to SWS | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 3.9 |  |  | 0 | 0 | 4 | 0 | 0
Wall Insulation - Install R-11 Fiberglass Batt | Remove existing insulation, if not salvageable and approved by state. Price includes labor and material to attach unfaced batts as per SWS. | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 0.8 |  |  | 0 | 0 | 162 | 0 | 0
Wall Insulation - Install R-13 Fiberglass Batt | Remove existing insulation, if not salvageable and approved by state. Price includes labor and material to attach unfaced batts as per SWS. | * Materials must meet ASTM C665 ~ Standard Specification for Mineral-Fiber Blanket Thermal Insulation | sq ft | 0.9 |  |  | 0 | 0 | 53 | 0 | 0
Wall Insulation - Dense-pack 3.5 inch wall cavity - Cellulose | Price includes labor and materials to prep and dense pack at 3.5 lbs/cu. ft.. Drywall must be plugged and be finish ready after installation. In exterior application, plugs must be aapplied and siding must be re-installed | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation | sq ft | 2.3 |  |  | 0 | 0 | 12500 | 0 | 0
Wall Insulation - Dense-pack 3.5 inch wall cavity - Fiberglass | Price includes labor and appropriate dense pack fiberglass materials as well as required prep work. Drywall must be plugged and be finish ready after installation. In exterior application, plugs and siding must be re-installed | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation | sq ft | 2.1 |  |  | 0 | 0 | 12500 | 0 | 0
Wall Insulation - Dense Pack 5.5 inch Cavity - Cellulose | Price includes labor and materials to prep and dense pack at 3.5 lbs/cu. ft.. Drywall must be plugged and be finish ready after installation. In exterior application, install plugs must be applied and siding must be re-installed | * Materials must meet ASTM C739 ~ Standard Specification for Cellulosic Fiber Loose-Fill Thermal Insulation | sq ft | 2.9 |  |  | 0 | 0 | 450 | 0 | 0
Wall Insulation - Dense Pack 5.5 inch Cavity - Fiberglass | Price includes labor and materials to prep and dense pack at 3.5 lbs/cu. ft.. Drywall must be plugged and be finish ready after installation. In exterior application, install plugs must be applied and siding must be re-installed | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation | sq ft | 2.7 |  |  | 0 | 0 | 450 | 0 | 0
Rim/Band Insulation - Install EPS Foam Board 1" | Includes labor and material to install to SWS | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 1.8 |  |  | 0 | 0 | 11 | 0 | 0
Rim/Band Insulation - Install EPS Foam Board 2" | Includes labor and material to install to SWS | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 2.5 |  |  | 0 | 0 | 21 | 0 | 0
Rim/Band Insulation - Install EPS Foam Board 3" | Includes labor and material to install to SWS | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 3.6 |  |  | 0 | 0 | 271 | 0 | 0
Rim/Band Insulation - Install Spray Foam 2" | Includes labor and material to install to SWS. Use 2-Part, closed cell spray foam | * Materials must meet AC 377 ~ Acceptance Criteria for Spray-Applied Foam Plastic Insulation published by the International Code Council Evaluation Service (ICC-ES) | sq ft | 2.8 |  |  | 0 | 0 | 1 | 0 | 0
Rim/Band Insulation - Install Spray Foam 3" | Includes labor and material to install to SWS. Use 2-Part, closed cell spray foam | * Materials must meet AC 377 ~ Acceptance Criteria for Spray-Applied Foam Plastic Insulation published by the International Code Council Evaluation Service (ICC-ES) | sq ft | 3.8 |  |  | 0 | 0 | 52 | 0 | 0
Windows
Window Replacement | Labor and materials to install an average window up to size 3x5 ft | * Energy Star certified * Low-E Rated * U-Factor of 0.30 or less * SGHC of 0.40 or less | each | 370 |  |  | 0 | 0 | 2 | 0 | 0
Mobile Homes
Mobile Home Belly Insulation - Dense Pack Fiberglass | Price includes labor and appropriate dense pack fiberglass materials to R-4/inch. Provide cut sheet for insulation. | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation | sq ft | 3.8 |  |  | 0 | 0 | 18538 | 0 | 0
Mobile Home Roof Insulation - Dense Pack Fiberglass | Install. Signed certificate of achieved R-value and install date | * Materials must meet ASTM C764 ~ Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation | sq ft | 2.7 |  |  | 0 | 0 | 3517 | 0 | 0
Mobile Home Replacement Door | Remove existing door, install per manufacturer specifications. | * Energy Star certified | each | 485 |  |  | 0 | 0 | 1 | 0 | 0
Maintenance Measures
Adjust programmable thermostat | Preferred settings: Cool 78 degrees or higher, Heat 68 degrees or lower. |  | each | 5 |  |  | 0 | 0 | 60 | 0 | 0
Adjust refrigerator / freezer temperature | Preferred settings: Fridge 40 degrees, Freezer 0 degrees. |  | each | 3 |  |  | 0 | 0 | 50 | 0 | 0
Airseal additional building penetrations | Caulk or spray foam depending on application. NTE 1 hr |  | hr | 42.5 |  |  | 0 | 0 | 30 | 0 | 0
Clean refrigerator coils | Move appliance, vaccuum the coils and return to position |  | each | 50 |  |  | 0 | 0 | 50 | 0 | 0
Miscellanous repairs to previously installed measures | Includes leveling insulation, re-attaching insulation, etc. NTE 1 hr |  | hr | 50 |  |  | 0 | 0 | 20 | 0 | 0
Shower timer | Attach to shower door |  | each | 15 |  |  | 0 | 0 | 60 | 0 | 0
[9 empty] | Totals | 200000 | 200000
Offeror Name:

## 1B. Health and Safety Measures
RFP Section 2.3.1 - Requirements for Energy Efficient Work
Health and Safety Measure | Description | Technical Specifications | Unit of Measure | Price Reference per Unit | Price Factor (Base Term) | Price Factor (Option Year) | Contractor Bid per Unit (Base Term) | Contractor Bid per Unit (Option Year) | Estimated Quantity | Total Item Price (Base Term) | Total Item Price (Option Year)
Heating and Cooling Repairs
Air Filter Replacement | Price includes all materials and labor to install, test and place in service. Removal and disposal of existing filter, client education | Minimum MERV 8 Rating. Installed to manufacture specifications | each | 25.7 |  |  | 0 | 0 | 600 | 0 | 0
Automatic Water Feeder Installation | Price includes all materials and labor to install, test and place in service. Removal and disposal of existing filter, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 265 |  |  | 0 | 0 | 20 | 0 | 0
Barometric Draft Control Installation | Price includes all materials and labor to install, test and place in service. Includes piping modifications, other necessary parts to operate unit under normal conditions, and removal / disposal of existing damper, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 170 |  |  | 0 | 0 | 20 | 0 | 0
Baseboard Heating Element Replacement | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing heating unit, client education | Performed / Installed to manufacture specifications and local code, permit (if required by code | each | 250 |  |  | 0 | 0 | 24 | 0 | 0
Blower Motor Replacement | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing damper, client education. | Installed to manufacture specifications and local code, permit (if required by code) | each | 270 |  |  | 0 | 0 | 12 | 0 | 0
Boiler Over Flow Pipe Installation | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, and other necessary parts to operate unit under normal conditions, removal / disposal of existing over flow pipe, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 82 |  |  | 0 | 0 | 6 | 0 | 0
Burner Replacement | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing burner, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 770 |  |  | 0 | 0 | 12 | 0 | 0
Chimney Repairs | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of removed material, client education. NTE 5 hrs of repairs per housing unit. | Installed to manufacture specifications and local code, permit (if required by code) | hour | 80 |  |  | 0 | 0 | 10 | 0 | 0
Circulator Pump Installation | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing pump, client education. | Installed to manufacture specifications and local code, permit (if required by code) | each | 346 |  |  | 0 | 0 | 8 | 0 | 0
Condensate Pump Installation | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, piping modifications, other necessary parts to operate unit under normal conditions, and removal / disposal of existing pump, client education | Installed to manufacture specifications and local code, permit (if required by code). If condensate piping extends to unconditioned space, it must be insulated as per SWS. | each | 106 |  |  | 0 | 0 | 20 | 0 | 0
Expansion Tank Installation | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing tank, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 255 |  |  | 0 | 0 | 40 | 0 | 0
Flue Pipe Correction - Furnace | Price includes all materials and labor to install, test and place in service. Includes other necessary parts to operate unit under normal conditions, removal / disposal of existing material, client education. | Installed to manufacture specifications and local code, permit (if required by code) | each | 250 |  |  | 0 | 0 | 15 | 0 | 0
Gas Line Repair | Price includes all materials and labor to install, test and place in service. Includes any other necessary parts to operate unit under normal conditions, removal / disposal of replaced materials, client education. NTE 4 hrs of repairs per housing unit. | Performed / Installed to manufacture specifications and local code, permit (if required by code | hour | 100 |  |  | 0 | 0 | 15 | 0 | 0
Gas Valve Replacement | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing valve, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 153 |  |  | 0 | 0 | 20 | 0 | 0
High Limit Switch Replacement | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing switch, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 140 |  |  | 0 | 0 | 2 | 0 | 0
Ignition Transformer Replacement | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing transformer, client education | Installed to manufacture specifications and local code, permit (if required by code) | each | 190 |  |  | 0 | 0 | 4 | 0 | 0
Make-Up Air Installation | Price includes all material and labor to provide make up air per each 100 sq inches. | Installed to manufacture specifications and local code, permit (if required by code) | each | 150 |  |  | 0 | 0 | 5 | 0 | 0
Miscellaneous Heating System Repairs | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of replaces material, client education. NTE 8 hrs of repairs per housing unit | Installed to manufacture specifications and local code, permit (if required by code) | hour | 80 |  |  | 0 | 0 | 25 | 0 | 0
Power Vent Installation | Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, other necessary parts to operate unit under normal conditions, removal / disposal of existing vent, client education | Installed to manufacture specifications and local code, permit (if required by code | each | 426 |  |  | 0 | 0 | 8 | 0 | 0
Remove and cap supply duct from active chimney | Cap needs to be of approved material and sealed | Performed / Installed to manufacture specifications and local code, permit (if required by code | each | 260 |  |  | 0 | 0 | 2 | 0 | 0
Thermostat Replacement | For territories that don't cover gas measures or for oil or propance systems | Installed to manufacture specifications, Minimum 1 year manufacturer warranty from date of install | each | 250 |  |  | 0 | 0 | 120 | 0 | 0
Hot Water
DHW Tank Replacement - Boiler Hot Water | Replaces existing water heater tank of similar size. Price includes all materials and labor to install, test and place in service. Includes electrical and plumbing connections, permits, and other necessary parts to operate unit under normal conditions. | Installed to manufacture specifications and local code, permit (if required by code) | each | 1267 |  |  | 0 | 0 | 12 | 0 | 0
Drip Tube Installation - DHW | Must be installed within 6" of the floor/pan | Installed to manufacture specifications and local code | each | 23 |  |  | 0 | 0 | 80 | 0 | 0
Flue Pipe Correction - DHW | Price includes all materials and labor to install, test and place in service. Includes other necessary parts to operate unit under normal conditions, removal / disposal of existing material, client education. | Performed / Installed to manufacture specifications and local code, permit (if required by code | each | 250 |  |  | 0 | 0 | 15 | 0 | 0
Other Measures
C/O Alarm Installation | UL listed with 10 year lithium battery, installed as per code | Installed to manufacture specifications and local code | each | 36 |  |  | 0 | 0 | 40 | 0 | 0
CO/Smoke Alarm Combination Install | UL listed with 10 year lithium battery, installed as per code | Installed to manufacture specifications and local code | each | 57 |  |  | 0 | 0 | 500 | 0 | 0
DHW Clean and Tune | Includes testing, cleaning of burners, adjusting gas control valve, making necessary adjustments for optimal performance |  | each | 330 |  |  | 0 | 0 | 20 | 0 | 0
Miscellaneous Electrical Repairs | Minor electrical repairs as per code, only for issues that pose a crew/worker health and safety issue. NTE 4 hrs of repairs per housing unit | Performed / Installed to manufacture specifications and local code, permit (if required by code | hour | 75 |  |  | 0 | 0 | 30 | 0 | 0
Smoke Alarm Installation | UL listed with 10 year lithium battery, installed as per code | Installed to manufacture specifications and local code | each | 35 |  |  | 0 | 0 | 100 | 0 | 0
Stove Clean and Tune | Includes testing, cleaning of burners, adjusting gas control valve, making necessary adjustments for optimal preformance |  | each | 165 |  |  | 0 | 0 | 20 | 0 | 0
Junction Box & Cover Installation | Install UL listed junction box and cover |  | each | 49 |  |  | 0 | 0 | 120 | 0 | 0
Junction Box Cover Installation | Install UL listed junction box cover that is compatible with the exisiting box |  | each | 2 |  |  | 0 | 0 | 320 | 0 | 0
Pandemic Personal Protective Equipment | Includes face masks, gloves, desinfectant, and other measures necessary to safely perform work during a pandemic. Price per job. |  | each | 50 |  |  | 0 | 0 | 320 | 0 | 0
[9 empty] | Totals | 0 | 0
Offeror Name:

## 1C. Incidental Repair Measures
RFP Section 2.3.1 - Requirements for Energy Efficiency Work
Incidental Repair | Description | Technical Specifications | Unit of Measure | Price Reference per Unit | Price Factor (Base Term) | Price Factor (Option Year) | Contractor Bid per Unit (Base Term) | Contractor Bid per Unit (Option Year) | Estimated Quantity | Total Item Price (Base Term) | Total Item Price (Option Year)
Infiltration / Insulation
Bath Exhaust Fan - Vent Pipe | Install bath exhaust venting and termination |  | lf | 5.25 |  |  | 0 | 0 | 120 | 0 | 0
Bath Exhaust Fan Installation | None present that vents to outside. Install fan, wiring, switch, venting up to 15ft, termination, insulation | * Energy Star * Meet ASHRAE requirements | each | 526 |  |  | 0 | 0 | 360 | 0 | 0
Bath Exhaust Vent Insulation | Vent insulation only if vent is not buried in attic insulation | Insulated to R-8 mininum | sq ft | 2.4 |  |  | 0 | 0 | 3600 | 0 | 0
Bath Fan Switch/Timer Installation | Bath fan Switch/Timer only | Meet ASHRAE requirements | each | 84 |  |  | 0 | 0 | 200 | 0 | 0
Block and Seal Window AC |  |  | each | 55 |  |  | 0 | 0 | 6 | 0 | 0
Chimney Cap Installation | Chimney Cap | Secured to liner with appropriate fasteners, stainless steel construction | each | 257 |  |  | 0 | 0 | 24 | 0 | 0
Condensate Line - Clean Out |  | open and not clogged, free of obstructions, no cracks, glued at joints, proper slope | each | 27 |  |  | 0 | 0 | 40 | 0 | 0
Crawlspace Door Installation | Install new crawl access |  | each | 52 |  |  | 0 | 0 | 180 | 0 | 0
Downspout Extender Installation | Verify that downspouts discharge rainwater at least 3 feet away from the home | mechanically attached to downspout, installed in a fashion that maintains a negative slope away from home | each | 16.7 |  |  | 0 | 0 | 800 | 0 | 0
Dryer Vent Booster Fan | Install booster as required for proper flow of dryer exhaust. Typical for runs over 35' | See dryer mfr for specs on run length required for booster | each | 481 |  |  | 0 | 0 | 1 | 0 | 0
Dryer - Vent To Outside | Install dryer exhaust venting and termination |  | lf | 5.1 |  |  | 0 | 0 | 480 | 0 | 0
Dryer Vent Insulation | Vent insulation only if vent is not buried in attic insulation | Insulated to R-8 mininum | sq ft | 2.3 |  |  | 0 | 0 | 1000 | 0 | 0
Drywall Mud & Tape |  |  | sq ft | 1.5 |  |  | 0 | 0 | 600 | 0 | 0
Existing Bath Exhaust Fan Replacement | Removal of existing fan, Install new fan, hook up to existing vent-wiring-switch | * Energy Star * Meet ASHRAE requirements | each | 286 |  |  | 0 | 0 | 240 | 0 | 0
Existing Bath Fan Motor Replacement | Replacement of Bath Fan Motor Only | * Energy Star * Meet ASHRAE requirements | each | 142 |  |  | 0 | 0 | 60 | 0 | 0
Existing Kitchen Exhaust Fan Replacement | Removal of existing fan, Install new fan, hook up to existing vent-wiring-switch | * Energy Star * Meet ASHRAE requirements | each | 323 |  |  | 0 | 0 | 120 | 0 | 0
Existing Kitchen Fan Motor Replacement | Replacement of Kitchen Fan Motor Only | * Energy Star * Meet ASHRAE requirements | each | 150 |  |  | 0 | 0 | 40 | 0 | 0
Exterior Door Replacement | Replace the door using an exterior-grade insulated door-blank or a pre-hung steel insulated door, unless the door opening isn't standard width or height. All replacement doors must have three hinges. | Install per code | each | 488 |  |  | 0 | 0 | 6 | 0 | 0
Exterior Wall Repair | NTE 10 sq ft of repairs per housing unit. |  | sq ft | 15.5 |  |  | 0 | 0 | 200 | 0 | 0
Fascia Repair |  |  | lf | 10 |  |  | 0 | 0 | 30 | 0 | 0
French Drain System | Install basement water mitigation | As per code | lf | 37.5 |  |  | 0 | 0 | 600 | 0 | 0
Gable Vent Installation | Attic ventilation |  | each | 337 |  |  | 0 | 0 | 7 | 0 | 0
Gutter - Clean-out | If doing ES Attic Insulation. | Includes cleaning gutters, minor tree/branch trimming, clean-up, disposal/removal of debris from site | lf | 2.5 |  |  | 0 | 0 | 600 | 0 | 0
Gutters/Downspout Repair | Ensure water does not enter attic area | Mechanically attached to house, strapping used where needed | lf | 8 |  |  | 0 | 0 | 600 | 0 | 0
Kitchen Exhaust Fan Installation | None present that vents to outside. Install fan, wiring, switch, venting up to 15ft, termination, insulation | * Energy Star * Meet ASHRAE requirements | each | 523 |  |  | 0 | 0 | 60 | 0 | 0
Kitchen Exhaust Fan To Outside - Vent Pipe | Install kitchen exhaust venting and termination |  | lf | 5.3 |  |  | 0 | 0 | 240 | 0 | 0
Kitchen Exhaust Vent Insulation | Vent insulation only if vent is not buried in attic insulation | Insulated to R-8 mininum. | sq ft | 2.4 |  |  | 0 | 0 | 400 | 0 | 0
Kitchen Fan Switch/Timer Installation | Kitchen fan Switch/Timer only | Meet ASHRAE requirements | each | 78 |  |  | 0 | 0 | 30 | 0 | 0
Minor Asbestos Remediation | NTE 45 sq ft of repairs per housing unit |  | sq ft | 12 |  |  | 0 | 0 | 30 | 0 | 0
Minor Carpentry Repair | NTE 10 sq ft of repairs per housing unit |  | sq ft | 15 |  |  | 0 | 0 | 830 | 0 | 0
Minor Mold Remediation | NTE 10 sq ft of repairs per housing unit. |  | sq ft | 35 |  |  | 0 | 0 | 87 | 0 | 0
Minor Plumbing Repair | NTE 3 hrs of repairs per housing unit |  | hr | 80 |  |  | 0 | 0 | 201 | 0 | 0
Minor Roof Leak Repair | Minor repairs include but not limited to: sealing at flashing, new boots/jacks, minor shingle replacement. NTE 8 hrs of repairs per housing unit. |  | hr | 45 |  |  | 0 | 0 | 342 | 0 | 0
Ridge Vent Installation |  |  | lf | 12.9 |  |  | 0 | 0 | 7 | 0 | 0
Weatherstripping Kit for Doors |  |  | each | 89 |  |  | 0 | 0 | 30 | 0 | 0
Roof Vent Installation | Install mushroom type/low profile roof vent for attic ventaillation |  | each | 284 |  |  | 0 | 0 | 8 | 0 | 0
Soffit Repair |  |  | lf | 12 |  |  | 0 | 0 | 160 | 0 | 0
Soffit Vent Installation | Install soffit vents to allow for proper flow. Used in conjunction with baffles to prevent wind washing and preservation of installed measres |  | lf | 9 |  |  | 0 | 0 | 7 | 0 | 0
Sump Pump Lid/Cover | Lid or Cover only, UL listed, installed and fit to well opening |  | each | 62 |  |  | 0 | 0 | 10 | 0 | 0
Sump Pump Replacement | Labor and materials to install Sump Pump as per code, with Lid or Cover |  | each | 525 |  |  | 0 | 0 | 24 | 0 | 0
Vent Termination - Roof | Includes drilling, termination kit, patching and sealing. |  | each | 146 |  |  | 0 | 0 | 100 | 0 | 0
Vent Termination - Masonry Wall | Includes drilling, termination kit, patching and sealing. |  | each | 261 |  |  | 0 | 0 | 30 | 0 | 0
Vent Termination - Wood Wall | Includes drilling, termination kit, patching and sealing. |  | each | 178 |  |  | 0 | 0 | 30 | 0 | 0
Window Well Cover Installation | Mechanically fastened to well | Sized appropriately, Mechanically fastened to well liner or home | each | 19.3 |  |  | 0 | 0 | 120 | 0 | 0
Attic
Attic Hatch / Stair Damming | Use of material that meets SWS standards (needs to be able to hold the weight of person entering attic) |  | sq ft | 5.9 |  |  | 0 | 0 | 4000 | 0 | 0
Attic Storage Removal | Temporary removal/relocation of stoarge to allow proper access and installation of eligible measures. NTE 8 hrs of repairs per housing unit. | For debris removal only | hr | 25 |  |  | 0 | 0 | 672 | 0 | 0
Attic/Kneewall Access Installation | Cut and frame only. Minimum requirements- cut sheetrock/plaster, frame/trim access opening , install 1/2" CDX that acts as a dam for insulation that extends at minimum 3" above the settled insulation level. IR to attic hatch treatment. Prime for paint. |  | each | 135 |  |  | 0 | 0 | 50 | 0 | 0
Baffles | ADO Products UDVB2346 Attic Vent Channel or equivalent |  | each | 3.6 |  |  | 0 | 0 | 1600 | 0 | 0
Batt Insulation Removal | Only if existing insulation is unsalvageable. REQUIRES STATE APPROVAL |  | sq ft | 1.2 |  |  | 0 | 0 | 4000 | 0 | 0
Blown Insulation Removal | Only if existing insulation is unsalvageable. REQUIRES STATE APPROVAL |  | sq ft | 1.3 |  |  | 0 | 0 | 4000 | 0 | 0
Duct Insulation Removal | IR to Duct Sealing when needed |  | sq ft | 0.3 |  |  | 0 | 0 | 2400 | 0 | 0
Drywall Reinforcement - Attic | Resecure / reinforce existing drywall to support insulation with screws and compound |  | sq ft | 0.6 |  |  | 0 | 0 | 1200 | 0 | 0
Flue Pipe Damming | Use of metal damming that meets SWS standards |  | sq ft | 15.6 |  |  | 0 | 0 | 2400 | 0 | 0
Install / Build / Relocate Attic Platform | Minimum spec- 3/4" CDX, 2x6 framing 16"o.c. with rigid dam at perimeter |  | sq ft | 5.3 |  |  | 0 | 0 | 3600 | 0 | 0
Junction Box Cover Installation - Attic | When needed in Attic where insulation will come in contact |  | each | 2.3 |  |  | 0 | 0 | 400 | 0 | 0
Junction Box & Cover Installation - Attic | When needed in Attic where insulation will come in contact |  | each | 49 |  |  | 0 | 0 | 180 | 0 | 0
Knob & Tube Wiring Mitigation - Attic | Demo existing K&T and rewires as per code. Price includes all necessary fees and permits, necessary labor and materials. NTE 10 hrs of repairs per housing unit. | *as per jurisdiction having authority requirements | hr | 75 |  |  | 0 | 0 | 570 | 0 | 0
Non-insulating Air Barrier on Knee Wall | Install, secure, tape seams, air seal perimeter | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | sq ft | 0.7 |  |  | 0 | 0 | 3564 | 0 | 0
Replace Attic Pull-down Stairs | Replace damaged/unsafe pull down stairs to allow for access and measure installation. |  | each | 375 |  |  | 0 | 0 | 5 | 0 | 0
Pest Removal | Treatment/abatement of minor to moderate pest infestation. NTE 8 hrs of repairs per housing unit. | As per jurisdiction having authority | hr | 45 |  |  | 0 | 0 | 33 | 0 | 0
Recessed Light Cover | Install, seal to drywall, ensure air tightness | The entire closure will maintain a 3" clearance between the closure and the fixture including wiring, box, and ballast. Must be UL listed and fire rated for minimum 2-hour PSF | each | 28.5 |  |  | 0 | 0 | 400 | 0 | 0
Replace Roof Stack Boot 2" Replacement | Performed to mitigate minor roof leaks | As per mfr instructions | each | 53.4 |  |  | 0 | 0 | 60 | 0 | 0
Replace Roof Stack Boot 3" Replacement | Performed to mitigate minor roof leaks | As per mfr instructions | each | 59.6 |  |  | 0 | 0 | 80 | 0 | 0
Replace Roof Stack Boot 4" Replacement | Performed to mitigate minor roof leaks | As per mfr instructions | each | 66.4 |  |  | 0 | 0 | 20 | 0 | 0
Roof Stack Boot 1 1/2" Replacement | Performed to mitigate minor roof leaks | As per mfr instructions | each | 50.8 |  |  | 0 | 0 | 20 | 0 | 0
Whole House Fan Treatment | Insulated box / cover over fan | * Materials must meet NFPA 275 ~ Standard Method of Fire Tests for the Evaluation of Thermal Barriers Used over Foam Plastic Insulation | each | 165 |  |  | 0 | 0 | 6 | 0 | 0
Whole House Fan Damming | Install dam to keep insulation materials form entering the housing and possibly contaminating the home when fan is operable. |  | each | 125 |  |  | 0 | 0 | 40 | 0 | 0
Whole House Fan Removal | Remove, dispose of, repair drywall to paint ready. Includes proper termination of electric line as per NEC. |  | each | 298 |  |  | 0 | 0 | 24 | 0 | 0
Distribution
Re-attach or Secure Duct | Reattach disconnected duct to allow for proper flow. NTE 2 repairs per housing unit. |  | each | 30 |  |  | 0 | 0 | 4 | 0 | 0
Replace Flexible Duct | Replace defective or deteriorated flex duct | Minimum of R8 in unconditioned spaces | lf | 10.6 |  |  | 0 | 0 | 160 | 0 | 0
Registers - Replace |  |  | each | 20.2 |  |  | 0 | 0 | 160 | 0 | 0
Floor
Crawl Space Access Well Installation | Enlarge ground area adjacent to crawl access to preserve the access and to keep soil form back filling |  | each | 305 |  |  | 0 | 0 | 3 | 0 | 0
Crawl Space Vent Installation | Install crawl ventillation | Per local jurisdiction having authority | each | 225 |  |  | 0 | 0 | 3 | 0 | 0
Crawl Space Storage Removal | NTE 8 hrs of repairs per housing unit. |  | hr | 25 |  |  | 0 | 0 | 95 | 0 | 0
Install New Dehumidifer | Install new Dehumidifier for moisture management | For electrical needs to accomodate new dehumidifier; check with the local jurisdiction having authority | each | 400 |  |  | 0 | 0 | 5 | 0 | 0
Non-insulating Air Barrier on Crawl Ceiling | Installed as per manufacturer requirements | Must be manufacturer rated for horizontal use applications | sq ft | 0.6 |  |  | 0 | 0 | 6112 | 0 | 0
Vapor Barrier Installation | Install Vapor Barrier, Mech fasten |  | sq ft | 0.9 |  |  | 0 | 0 | 40000 | 0 | 0
Low Height Crawl Space Treatment | This incidental cost can be added to any treatment of a floor above / a wall treatment in a crawl space that is 2ft or less in height. | Photo verification required | sq ft | 0.6 |  |  | 0 | 0 | 2400 | 0 | 0
Heating and Cooling
Chimney Liner (Aluminium) | As required for gas fired HVAC and boiler appliances | As required by the local authority having jurisdiction | each | 1175 |  |  | 0 | 0 | 15 | 0 | 0
Ductless Mini-Split Additional Feed | This incidental cost can be added to a ductless mini-split energy measure for each additional feed that is connected to the system | Install as per mfr requirements and local jurisdiction having authority | each | 428 |  |  | 0 | 0 | 16 | 0 | 0
Install Programmable Thermostat | Forced air or heat pumps only where smart thermostat is not possible. Replacement must be installed, tested and placed in service. Owner/operator education required and included in price | * Energy Star certified * Minimum 1 year manufacturer warranty from date of install | each | 231 |  |  | 0 | 0 | 163 | 0 | 0
Install Thermostat - Baseboard Heaters | Replacement, installed, tested and placed in service. Owner/operator education included in price. Replaces existing analog thermostat | * Minimum 1 year manufacturer warranty from date of install | each | 200 |  |  | 0 | 0 | 1 | 0 | 0
Insulate HVAC Line Set | Removal/replacement of deteriorated or non existing line set insulation | As required by mfr instructions | lf | 2.1 |  |  | 0 | 0 | 10 | 0 | 0
Permits / Fees | As necessary for HVAC, DHW, or other measures |  | each | 150 |  |  | 0 | 0 | 80 | 0 | 0
Mobile Homes
Aluminum Fibered Roof Coating | Install per ASTM D2824(M) |  | sq ft | 1.1 |  |  | 0 | 0 | 1000 | 0 | 0
Belly Repair | Existing belly damages, not caused by crew. |  | sq ft | 1.7 |  |  | 0 | 0 | 7200 | 0 | 0
AcrylicWhite Roof Coating | Install per ASTM D6083-05e1 |  | sq ft | 1.3 |  |  | 0 | 0 | 1000 | 0 | 0
Wall
Drywall Reinforcement - Wall | Resecure / reinforce existing drywall to support dense-pack insulation |  | sq ft | 0.2 |  |  | 0 | 0 | 2000 | 0 | 0
Knob & Tube Wiring Mitigation - Wall | Other than Attic. NTE 10 hrs of repairs per housing unit. | REQUIRES STATE APPROVAL | hr | 75 |  |  | 0 | 0 | 1 | 0 | 0
Windows
Window - Replace Glass/Pane up to 64 u.i. | Labor and materials to install window pane. Includes glazing points and glaze with a prime coat of paint |  | each | 77.3 |  |  | 0 | 0 | 3 | 0 | 0
Window Sash Replacement | Labor and materials to install window sash. Includes glazing points and glaze with a prime coat of paint | * Low-E Rated * U-Factor of 0.30 or less * SGHC of 0.40 or less | each | 201 |  |  | 0 | 0 | 1 | 0 | 0
[9 empty] | Totals | 0 | 0
Offeror Name: