## Instructions
Using the WAP Position Information Tool
This tool provides an overview of core WAP positions, including job titles, brief descriptions, required experience, and other essential details.
By utilizing the WAP Positions Information Tool, you can gain a clear overview of your program's positions, qualifications, and career growth possibilities. Customize the tool to meet your organization's needs and empower your employees with the knowledge to navigate their career paths effectively. Follow these steps to use the tool effectively:
1. Understanding the Tool:
· The tool is designed to list all WAP positions in your program, allowing you to customize the information for each position.
· Row 1 contains headers that are specific to the columns for each position.
· Row 2 provides instructions for each column, guiding you on the type of information to include.
o Both Rows 1 and 2 will remain in place as you scroll down the worksheet to provide guidance as you are inputting the information.
2. Using and Customizing the Tool:
· Review the instructions on Row 2 to determine the information needed for each position listed. These instructions are used to customize the tool.
· The information should be an overview of the position's responsibilities, avoiding the need for full job descriptions. Fully detailed job descriptions should be provided in a separate document.
· To add a new row for additional positions, use the Excel "insert row" function by right clicking your mouse on the rows numbers and selecting insert (or press “i”).
· Add positions specific to your program and fill in the information for each new row.
3. Tips for Finalizing the Position Information:
· Be specific when listing responsibilities, qualifications, and other details. Ensure the tool accurately represents your organization's career paths and workforce development opportunities.
· Review the information to ensure it provides a comprehensive understanding of the core WAP positions and their respective responsibilities.
· Regularly update the information to reflect any changes in job positions, qualifications, or workforce development initiatives within your organization.
Using the Knowledge, Skills, Abilities (KSA) Tools
These tools contain detailed lists of the essential knowledge, skills, abilities, and specific requirements for advancement within the core WAP positions. These lists will provide valuable insights for job seekers and employers on the qualifications necessary for career growth. The lists of tasks were compiled using the NREL JTAs for the core WAP positions (RIT, CL, EA, and QCI).
1. Customizing Advancement Requirements:
· Customize the advancement requirements to include any federal, state, or local requirements for each position and any additional criteria for career advancement within your organization. Requirements may include training, certifications, or proficiency of knowledge, skills, and abilities. (Example: Proficient in 8/10 tasks)
o These advancement requirements can be edited to meet your organization’s specific needs.
2. Incorporating Additional Tasks and Tracking Progress:
· Additional tasks can be added as needed using the pre-made sections available at the bottom of each list.
· Use these lists as a checklist to track employees' progress and confirm when they meet specific advancement requirements or demonstrate competency in the listed tasks.
3. WAP Installer Badges Toolkit Alignment:
· The RIT and CL KSA lists include a column to document the completion of the WAP badges.
LINK: NREL has created a WAP Badges Toolkit that can complement this tool. The badges toolkit provides 25 badges that help demonstrate the knowledge of an RIT or CL and have been aligned to the CL JTA.
LINK: NASCSP hosted a webinar "Badges in WAP" featuring the MN Department of Commerce and Everblue Training Institute. The webinar discusses one way the badges may be used to scale up the WAP workforce.

## Job Position Information
Job Title | Job Level | Repsonsibilities | Qualifications | Possible Career Paths | Transferable Skills | Training and Development Opportunities | Salary/Wages | Grade/Class
[Insert Job Title] | [Insert Job Level (e.g., Entry-Level, Mid-Level, Senior)] | [List key responsibilities and tasks for the position] [List additional responsibilities for higher job levels] | [List minimum qualifications for the position] [List preferred qualifications for higher job levels] | [List potential vertical advancements within the job family] [List potential lateral moves to other roles within the organization] | [Identify skills that can be developed in this position and applied to other roles] [Highlight how employees can gain diverse experiences in different areas] | [Specify training programs available for skill development] [List opportunities for career advancement and growth] | [Insert the salary / wages. Use Ranges] | [Insert the grade/classification] (this will be specific to the organization)
Entry Level Apprentice
Trainee / Apprentice | Entry-Level | Assists in basic weatherization tasks under supervision. Participates in training programs to develop technical skills. | High school diploma or equivalent. Basic understanding of construction and building systems. | Technician I Program Admin Program Coordinator | Building construction and safety knowledge. Basic weatherization techniques. | On-the-job training in weatherization techniques. Opportunity to obtain relevant building science certifications.
Entry-Level Field Staff
Retrofit Installer Technician 1 | Entry-Level | Performs basic weatherization tasks independently. Conducts diagnostic testing to identify energy-saving opportunities. Gains proficiency in weatherization measures and techniques. | Completion of a recognized weatherization training program. Demonstrated experience in weatherization or related field. | Technician II Crew Leader Program Coordinator | Diagnostic testing and building assessment expertise. Advanced weatherization measures proficiency. | Advanced training in energy auditing and diagnostics. Skill development in air sealing and insulation techniques.
Retrofit Installer Technician 2 | Entry-Level | Leads and mentors lower-level technicians in weatherization projects. Performs complex weatherization measures. Assists in developing work plans and project timelines. | 1-3 years of experience in weatherization work. Advanced certifications in building science and energy efficiency. | Crew Leader Energy Auditor Program Coordinator | Complex weatherization project planning and execution. Leadership and mentorship abilities. | Leadership training for crew management. Specialization in advanced weatherization measures.
Mid-Level Field Staff
Crew Leader 1 | Mid-Level | Oversees a team of technicians and ensures project efficiency and quality. Conducts job site inspections and addresses safety concerns. Provides technical guidance and support to team members. | Demonstrated leadership and supervisory skills. Proficiency in project planning and resource management. | Crew Leader 2 Energy Auditor Program Coordinator Program Manager | Team leadership and project oversight. Communication and problem-solving skills. | Project management training and certifications. Professional development in communication and team leadership.
Crew Leader 2 | Mid-Level | Oversees multiple weatherization crews and projects simultaneously. Conducts regular performance evaluations and provides feedback to crew leaders. Collaborates with program managers to optimize crew efficiency and resource allocation. | Proven experience as a successful Weatherization Crew Leader. Ability to manage and coordinate multiple teams and projects. | Energy Auditor Program Coordinator Program Manager | Management of multiple weatherization crews and projects. Evaluation and feedback for crew leaders' performance. Resource optimization and budget management for weatherization initiatives. Collaboration with program managers and external partners. | Advanced project management and resource optimization training. Leadership seminars for effective team management.
Mid-Level Field Staff
Energy Auditor / Assessor | Mid-Level | Conducts detailed energy audits to identify energy inefficiencies in buildings. Analyzes energy consumption patterns and recommends energy-saving measures. Prepares comprehensive audit reports for clients or program managers. | Certification as a Residential Energy Auditor (e.g., BPI Energy Auditor). Knowledge of energy-efficient technologies and building codes. | Quality Control Inspector Program Coordinator Program Manager | Energy auditing and building assessment expertise. Advanced weatherization measures proficiency. Data collection and analysis for energy efficiency assessments. Client communication and presentation skills. | Advanced energy auditing certifications. Specialization in commercial or multifamily energy audits.
Senior-Level Field Staff
Quality Control Inspector | Mid-Level | Conducts inspections to ensure projects comply with standards.Verifies the quality and effectiveness of weatherization measures. Provides feedback and coaching to weatherization teams for continuous improvement. | Experience in weatherization or construction quality control. Understanding of weatherization program guidelines and regulations. Certification as a Residential Energy Auditor (e.g., BPI Energy Auditor). | Program Coordinator Program Manager | Quality assurance and control expertise in weatherization projects. Thorough understanding of program guidelines and regulations. Strong attention to detail and accuracy in inspections and reporting. Problem-solving and decision-making skills for project improvements. | Quality assurance and control training. Leadership and coaching workshops.
Additional WAP Staff
Administration | Entry-Level | Provides administrative support to the program. Manages program inquiries, intake process, and client scheduling. Assists in maintaining program documentation and records. | High school diploma or equivalent with administrative experience. Strong organizational and communication skills. | Retrofit Installer Technician Crew Leader Energy Auditor Program Coordinator Program Manager | Administrative support for program operations. Client intake and scheduling for weatherization services. Record-keeping and documentation for program compliance. Customer service and communication skills. | Training in program database management and record-keeping. Professional development in customer service and interpersonal communication.
Program Coordinator | Mid-Level | Manages weatherization projects and coordinates with various stakeholders. Develops work plans, budgets, and performance targets for the program. Ensures compliance with program guidelines and regulations. | Experience in program management or coordination. | Crew Leader Energy Auditor Program Manager | Program management and coordination expertise. Budgeting and resource allocation skills. | Grant writing and proposal development workshops. Program evaluation and data analysis training.
Program Manager | Senior-Level | Manages the overall Weatherization Assistance Program. Develops program strategies, secures funding, and evaluates program effectiveness. Represents the program in external partnerships and collaborations. | Extensive experience in managing energy efficiency programs. | Weatherization Director | Strategic planning and program development acumen. Advocacy and public policy experience. | Leadership seminars and executive management courses. Stakeholder engagement and public relations training.
Director | Senior-Level | Provides strategic leadership for the weatherization department or organization. Sets long-term goals and oversees program implementation. Represents the organization at the state or national level. | Extensive experience in energy policy and program advocacy. | Opportunities to collaborate with external partners, industry experts, or government agencies. Potential for vertical advancement outside of the organization's WAP or at the state or national level such as an association or national lab. | Visionary leadership and organizational management skills. Expertise in energy policy and sustainability. | Public speaking and media relations coaching. Strategic planning and organizational development workshops.

## RIT KSA
Retrofit Installer Technician (RIT) Knowledge, Skills, & Abilities
Use this tool to assess the knowledge, skills, and abilities needed to advance as a retrofit installer technician. Using the KSA list as a guide, tasks can be completed by employees to show proficiency. To advance through the retrofit installer technician career, employees must meet the requirements listed below. Crew leaders andor program management can use the scope of work from weatherization homes to check off when the employee is considered proficient in the task. Certain tasks may carry more importance than others. For those tasks with more importance, it may be possible to ensure proficiency through additional training and/or certifications.
Tasks |  | Proficient? | Badge Completion | Advancement Requirements
Identify and report potential combustible safety hazards. |  |  |  | Retrofit Installer Technician 1
|  |  |  | Training | Certifications | KSA Proficiency
Knowledge of: | Ability to: |  |  | DOE WAP RIT Training |  | 36% or 4/11 tasks
Combustion appliance exhaust venting systems | Identify and report potential safety issues |  |  | Grantee or State Training
Safety protocols
Manufacturer specifications
Ventilation systems |  |  |  | Retrofit Installer Technician 2
Heat producing devices |  |  |  | Training | Certifications | KSA Proficiency
Applicable building science | [5 empty] | 81% or 9/11 tasks
Install roof penetrations and weatherproofing.
Crew Leader 1
Knowledge of: | Ability to: |  |  | Training | Certifications | KSA Proficiency
Safety protocols | Gather required materials to complete the task |  | Install exterior roof penetration (e.g.,roof vents or bath fan termination) |  |  | 100% or 11/11 tasks
General carpentry | Gather required tools to complete the task
Code compliance | Identify and repair leak sources
Manufacturer specifications | Remove roofing system
Tools | Install attic ventilation |  |  | Program Coordinator
Materials | Flash new penetrations |  |  | Training | Certifications | KSA Proficiency
Roofing components
Applicable building science
Rough in mechanical ventilation
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Vent clothes dryer to the exterior
Tools | Gather required tools to cornplete the task |  | Install ducting for a bath or kitchen range fan
Materials | Identify electrical safety components and hazards
Framing basics | Identify plumbing safety components and hazards
Manufacturer specifications | Remove old equipment
Penetration locations and water proofing | Cut openings in building materials
Applicable building science | Install venting system and vent terminations
Install. air seal, and insulate duct
Identify when installation is complete
Assist with mechanical systems upgrades
Knowledge of: | Ability to:
Safety protocols | Identify electrical safety components and hazards |  | Air seal ducted distribution system
Job site specifics | Identify plumbing safety components and hazards |  | Insulate ducted distribution system
Manufacturer specifications | Gather required materials to complete the task
Code compliance | Gather required tools to complete the task
Duct installation and sealing requirements | Identify fuel system components
Duct systemsa and air flow basics | Assist in removal of old equipment
Sheet metal basics | Rough in openings in buildings
Tools | Repair, air seal, and insulate ducted distribution systems
Materials | Assist in installation of combustion vents
Applicable building science | Clean/replace air filters
Install air sealing measures
Knowledge of: | Ability to:
Safety protocols | Identify electrical safety hazards |  | Air seal attic floor
Code compliance | Identify plumbing hazards |  | Seal and dam high-temp heat sources in attic
Manufacturer specifications | Identify leaks and bypasses |  | Install weather stripping and sweep set on exterior door
Material capability, durability, and strength | Gather required materials to complete the task |  | Air seal and insulate walls of a conditioned subspace (basement or crawl space)
Building envelope | Gather required tools to complete the task |  | Air seal floor above an unconditioned subspace (basement or crawl space)
Scope of work | Block large openings
Applicable building science | Seal leaks and bypasses
Tools | Verify that air sealing is effective
Materials | Remove and replace insulation
How a blower door is used (to determine building air leakage and identify envelope leaks and bypasses)
Install or repair vapor retarders.
Knowledge of: | Ability to:
Safety protocols | Identify plumbing safety components and hazards |  | Install or repair vapor retarder in a subspace
Manufacturer specifications | Remove all organic/inorganic materials
Tools | Gather required materials to complete the task
Materials | Gather required tools to complete the task
Code compliance | Install vapor retarder and seal joints and seams
Scope of work | Report moisture concerns
Moisture source identification and control
Applicable building science
Install insulation
Knowledge of: | Ability to:
Blower door testing | Gather required materials to complete the task |  | Prep attic floor for insulation
Building envelope | Gather required tools to complete the task |  | Treat attic hatch
Code compliance | Operate insulation equipment |  | Insulate attic floor and pass inspection the 1st time
Coverage charts | Install insulation dams |  | Insulate ceiling of a manufactured home
Dense pack procedures | Compare material use to coverage required (bags consumed) |  | Seal and Insulate Knee Walls
Depth markers | Confirm air sealing is complete |  | Install dense-pack sidewall insulation
Drainage planes | Confirm building component integrity |  | Insulate walls of a manufactured home
Drill access points | Confirm clearance to combustibles |  | Insulate the floor above an unconditioned subspace
Ducted distribution systems | Confirm electrical is flagged |  | Insulate the belly of a manufactured home
Framing | Confirm exhaust fans are ducted to outside and insulated
General carpentry | Confirm HVAC duct work is intact, sealed, supported, and insulated
Heat producing devices | Confirm vertical insulation
Installation techniques | Fill all cavities
Insulation equipment | Fine tune machine for application (density)
Limitations of components | Gain access to all building cavities, locate all horizontal blocks
Manufacturer specifications | Identify electrical safety components and hazards
Probing techniques | Identify plumbing safety components and hazards
R-values | Install baffles, blocking, platforms, and insulation dams
Safety protocols | Install horizontal insulation
Scope of work | Install vertical insulation
Testing procedures | Locate drill points
Type of building structures | Maintain rated R values
Types of insulation materials and when to use them | Plug hole, patch weather barrier, put siding back, seal openings, caulk joints
Remove and replace various types of siding
Verify appropriate density
Install windows and doors.
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Install window or exterior door
Manufacturer specifications | Gather required tools to complete the task |  | Repair/replace cracked or broken glass
Code compliance | Remove old windows and doors
Scope of work | Check and install weatherproofing/ flashing
Drainage planes | Install air barrier and ensure drainage
Weatherproofing/flashing techniques
General carpentry
Tools
Materials
Window and door types
Vapor barriers
Applicable building science
Install baseload measures.
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Insulate a water heater tank and the first 6 feet of pipes
Manufacturer specifications | Gather required tools to complete the task |  | Install low-flow faucet aerators or showerhead
Code compliance | Follow manufacturer specifications
Scope of work
Tools
Materials
Applicable building science
Identify and report deviations from scope of work.
Knowledge of: | Ability to:
Scope of work | Identify deviation
Applicable building science | Report deviation
Request direction for modified scope of work
Implement modified scope of work
Clean all debris and work materials from the job site.
Knowledge of: | Ability to:
Safety protocols | Remove containment |  | Work Lead-Safe
Hazard containment and disposal procedures | Properly contain, sort, transport, and dispose of materials and waste
Recyclable materials
Materials SDS (Safety Data Sheet)
Tool inventory
Applicable building science
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:

## CL KSA
Crew Leader (CL) Knowledge, Skills, & Abilities
To advance through the Crew Leader career path, employees must meet the requirements listed below. Use the list of tasks to determine the knowledge, skills, and abilities needed to advance as a Crew Leader. Using the list as a guide, tasks can be completed to show proficiency. Program management can use the scope of work from weatherization homes to check off when the employee is considered proficient in the task. Certain tasks may carry more importance than others depending on the program. For those tasks with more importance, it may be possible to ensure proficiency through additional training and/or certifications.
Tasks |  | Proficient? | Badge Completion | Advancement Requirements
Identify materials and staffing needs |  |  |  | Crew Leader 2
|  |  |  | Training | Certifications | KSA Proficiency
Knowledge of: | Ability to:
Safety protocols | Review and interpret scope of work
Code compliance | Integrate information from multiple sources
Scope of work | Assess crew and contractor capabilities
Manufacturer specifications | Estimate time required to complete each component of scope of work |  |  | Energy Auditor
Materials required | Identify, select, and organize materials to complete scope of work |  |  | Training | Certifications | KSA Proficiency
Personnel required | Estimate materials required
Physical parameters of the job | Determine appropriate tools and equipment to complete job
Schedule changes | Track maintenance of tools and equipment
Resources | Report missing or deficient tools and materials
SDS (Safety Data Sheet) |  |  |  | Program Coordinator
|  |  |  | Training | Certifications | KSA Proficiency
Prepare homeowner/occupants for the scope of work.
Knowledge of: | Ability to:
Safety protocols | Clearly communicate scope of work to a layperson
Code compliance | Provide documentation as needed
Scope of work | Review installation procedures
Job site logistics | Identify preexisting conditions
Review scope of work
Identify potential hazards to the client that may occur during work installation and determine plan to avoid them
Determine readiness of the job site for the scope of work.
Knowledge of: | Ability to:
Safety protocols | Confirm materials match work specifications
Code compliance | Identify materials and methods needed for job
Scope of work | Review scope of work
Job site specifications | Confirm approval for state of work
Prior hazards or barriers | Confirm completion of prerequisite work
Identify work site safety hazards and inform crew of safety requirements.
Knowledge of: | Ability to:
Safety protocols | Assign safety responsibilities
Manufacturer specifications | Identify safety hazards
Code compliance | Conduct an effective safety meeting
Scope of work
Locate and verify access to specific work areas.
Knowledge of: | Ability to:
Job site specifics | Review the scope of work and job requirements
Scope of work | Confirm approval for start of work
Work with crew lead to get access to areas (moving personal belongings, getting into crawl space, etc.)
Create and/or repair access to work areas
Protect interior/exterior of house
Knowledge of: | Ability to:
Job site specifics | Protect occupant belongings/property
Hazard containment | Follow safe practices
Safe practices
Scope of work
Drop cloths, tack mats
Set up tools
Knowledge of: | Ability to:
Safety protocols | Properly stage tools
Manufacturer specifications | Verify operational status
Scope of work | Report deficiencies
Set up materials
Knowledge of: | Ability to:
Job site specifics | Maintain integrity of materials
Safety protocols | Report deficiencies
Scope of work
Report out of scope preexisting conditions
Knowledge of: | Ability to:
General construction | Identify and report preexisting condition (aesthetic/structural)
Scope of work
Badge Completion
Identify and report potential combustible safety hazards.
Knowledge of: | Ability to:
Combustion appliance exhaust venting systems | Identify and report potential safety issues
Safety protocols
Manufacturer specifications
Ventilation systems
Heat producing devices
Applicable building science
Install roof penetrations and weatherproofing.
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Install exterior roof penetration (e.g.,roof vents or bath fan termination)
General carpentry | Gather required tools to complete the task
Code compliance | Identify and repair leak sources
Manufacturer specifications | Remove roofing system
Tools | Install attic ventilation
Materials | Flash new penetrations
Roofing components
Applicable building science
Rough in mechanical ventilation
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Vent clothes dryer to the exterior
Tools | Gather required tools to cornplete the task |  | Install ducting for a bath or kitchen range fan
Materials | Identify electrical safety components and hazards
Framing basics | Identify plumbing safety components and hazards
Manufacturer specifications | Remove old equipment
Penetration locations and water proofing | Cut openings in building materials
Applicable building science | Install venting system and vent terminations
Install. air seal, and insulate duct
Identify when installation is complete
Assist with mechanical systems upgrades
Knowledge of: | Ability to:
Safety protocols | Identify electrical safety components and hazards |  | Air seal ducted distribution system
Job site specifics | Identify plumbing safety components and hazards |  | Insulate ducted distribution system
Manufacturer specifications | Gather required materials to complete the task
Code compliance | Gather required tools to complete the task
Duct installation and sealing requirements | Identify fuel system components
Duct systemsa and air flow basics | Assist in removal of old equipment
Sheet metal basics | Rough in openings in buildings
Tools | Repair, air seal, and insulate ducted distribution systems
Materials | Assist in installation of combustion vents
Applicable building science | Clean/replace air filters
Install air sealing measures
Knowledge of: | Ability to:
Safety protocols | Identify electrical safety hazards |  | Air seal attic floor
Code compliance | Identify plumbing hazards |  | Seal and dam high-temp heat sources in attic
Manufacturer specifications | Identify leaks and bypasses |  | Install weather stripping and sweep set on exterior door
Material capability, durability, and strength | Gather required materials to complete the task |  | Air seal and insulate walls of a conditioned subspace (basement or crawl space)
Building envelope | Gather required tools to complete the task |  | Air seal floor above an unconditioned subspace (basement or crawl space)
Scope of work | Block large openings
Applicable building science | Seal leaks and bypasses
Tools | Verify that air sealing is effective
Materials | Remove and replace insulation
How a blower door is used (to determine building air leakage and identify envelope leaks and bypasses)
Install or repair vapor retarders.
Knowledge of: | Ability to:
Safety protocols | Identify plumbing safety components and hazards |  | Install or repair vapor retarder in a subspace
Manufacturer specifications | Remove all organic/inorganic materials
Tools | Gather required materials to complete the task
Materials | Gather required tools to complete the task
Code compliance | Install vapor retarder and seal joints and seams
Scope of work | Report moisture concerns
Moisture source identification and control
Applicable building science
Install insulation
Knowledge of: | Ability to:
Blower door testing | Gather required materials to complete the task |  | Prep attic floor for insulation
Building envelope | Gather required tools to complete the task |  | Treat attic hatch
Code compliance | Operate insulation equipment |  | Insulate attic floor and pass inspection the 1st time
Coverage charts | Install insulation dams |  | Insulate ceiling of a manufactured home
Dense pack procedures | Compare material use to coverage required (bags consumed) |  | Seal and Insulate Knee Walls
Depth markers | Confirm air sealing is complete |  | Install dense-pack sidewall insulation
Drainage planes | Confirm building component integrity |  | Insulate walls of a manufactured home
Drill access points | Confirm clearance to combustibles |  | Insulate the floor above an unconditioned subspace
Ducted distribution systems | Confirm electrical is flagged |  | Insulate the belly of a manufactured home
Framing | Confirm exhaust fans are ducted to outside and insulated
General carpentry | Confirm HVAC duct work is intact, sealed, supported, and insulated
Heat producing devices | Confirm vertical insulation
Installation techniques | Fill all cavities
Insulation equipment | Fine tune machine for application (density)
Limitations of components | Gain access to all building cavities, locate all horizontal blocks
Manufacturer specifications | Identify electrical safety components and hazards
Probing techniques | Identify plumbing safety components and hazards
R-values | Install baffles, blocking, platforms, and insulation dams
Safety protocols | Install horizontal insulation
Scope of work | Install vertical insulation
Testing procedures | Locate drill points
Type of building structures | Maintain rated R values
Types of insulation materials and when to use them | Plug hole, patch weather barrier, put siding back, seal openings, caulk joints
Remove and replace various types of siding
Verify appropriate density
Install windows and doors.
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Install window or exterior door
Manufacturer specifications | Gather required tools to complete the task |  | Repair/replace cracked or broken glass
Code compliance | Remove old windows and doors
Scope of work | Check and install weatherproofing/ flashing
Drainage planes | Install air barrier and ensure drainage
Weatherproofing/flashing techniques
General carpentry
Tools
Materials
Window and door types
Vapor barriers
Applicable building science
Install baseload measures.
Knowledge of: | Ability to:
Safety protocols | Gather required materials to complete the task |  | Insulate a water heater tank and the first 6 feet of pipes
Manufacturer specifications | Gather required tools to complete the task |  | Install low-flow faucet aerators or showerhead
Code compliance | Follow manufacturer specifications
Scope of work
Tools
Materials
Applicable building science
Identify and report deviations from scope of work.
Knowledge of: | Ability to:
Scope of work | Identify deviation
Applicable building science | Report deviation
Request direction for modified scope of work
Implement modified scope of work
Clean all debris and work materials from the job site.
Knowledge of: | Ability to:
Safety protocols | Remove containment |  | Work Lead-Safe
Hazard containment and disposal procedures | Properly contain, sort, transport, and dispose of materials and waste
Recyclable materials
Materials SDS (Safety Data Sheet)
Tool inventory
Applicable building science
Conduct diagnostic testing
Knowledge of: | Ability to:
Safety protocols | Perform blower door air leakage testing
Manufacturer specifications | Perform combustion safety testing
Code compliance | Conduct IR scans
Scope of work | Conduct room to room pressure testing
Diagnostic equipment testing procedures | Interpret and document the testing results
When tests are necessary, e.g., conducting combustion safety test-out after any work that might impact draft, before leaving house | Compare results to jurisdiction requirements
Adjust scope of work as needed to reflect current conditions
Knowledge of: | Ability to:
Safety protocols | Document changes or agreements with responsible party in writing as necessary
Code compliance | Interpret scope of work
Scope of work | Integrate information from multiple sources
Building techniques | Estimate time required
Building science | Estimate materials required
Building materials | Communicate changes properly through chain of command
Required forms and documentation | Identify deviations from the scope of work
Set expectations with the responsible party regarding scope of work changes
Process forms and documentation
Post necessary paperwork (permits, certificates, signage, etc.)
Knowledge of:
Safety protocols
Code compliance
Scope of work
Posting requirements of permits, certificates, and signage
Monitor safety practices
Knowledge of: | Ability to:
Safety protocols | Recognize noncompliance with safety protocols
Manufacturer specifications | Enforce safety protocols
Code compliance | Make onsite corrections to ensure safety
Scope of work
Maintain and document project progression, personnel control, and compliance.
Knowledge of: | Ability to:
Safety protocols | Verify that all components of a day's scope of work have been completed and cleaned up appropriately
Manufacturer specifications | Conduct a visual inspection
Code compliance | Monitor and adjust use of resources
Scope of work | Supervise work in progress
Material disposal requirements | Prioritize activities of crew
Appropriate forms and written documentation | Confirm and document with notes or images that assigned tasks are completed (e.g. quantities, materials used, who completed the task, sign off, pictures)
Prerequisite and individual tasks that make up the scope of work | Identify and explain deviations of the scope of work
Capabilities and limitations of members of the crew and contractors | Gain permission(s) to revise and adjust scope of work as appropriate
Required standards and procedures | Provide corrective actions as necessary
Verify that all components of the scope of work have been completed in compliance with required codes and standards.
Knowledge of: | Ability to:
Safety protocols | Use diagnostic equipment
Manufacturer specifications | Evaluate a project for compliance with program or policy requirements and applicable codes and standards
Code compliance | Verify that all debris and work materials have been cleaned from the job site
Scope of work | Review scope of work with responsible party
Diagnostic equipment | Provide client education according to specified standards of quality and performance
Data collection | Communicate project close out (product manuals, utility rebates, next steps, etc.)
Required standards and procedures | Verify placement of all required insulation certificates and that client has received copies of user manuals for any equipment installed
Hazard containment | Perform walk through with homeowner/responsible party
Applicable building science | Obtain homeowner/responsible party job-completion sign-off signatures as required
Required signatures
Complete all post-work documentation as required (e.g. materials, labor hours, photos, certified renovator signatures, information for inspectors).
Knowledge of: | Ability to:
Code compliance | Integrate or record information from multiple sources
Scope of work
Required documentation
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:

## EA KSA
Energy Auditor (EA) Knowledge, Skills, & Abilities
Use the list below to determine the knowledge, skills, and abilities needed to advance as an Energy Auditor. Using the list as a guide, tasks can be completed to show proficiency. To advance through the Energy Auditor career, employees must meet the requirements listed to the right. Program management can use the scope of work from weatherization homes to check off when the employee is considered proficient in the task. Certain tasks may carry more importance than others depending on the program. For those tasks with more importance, it may be possible to ensure proficiency through additional training and/or certifications.
Tasks |  | Proficient? | Advancement Requirements
Document energy consumption |  |  | Quality Control Inspector
|  |  | Training | Certifications | KSA Proficiency
Knowledge of: | Ability to: |  | BPI QCI Training | BPI HEP QCI | 100%
How to access utility information | Obtain 12 months of client utility bills
Utility bill components. | Obtain annual fuel delivery information (oil, propane, etc.).
Document the building history
Knowledge of: | Ability to:
Where to access property record | Determine the age of the original structure
Determine the age of any additions or improvements
Determine if the building has any historical significance.
Conduct a physical/visual inspection.
Knowledge of: | Ability to:
General construction | Identify holes, chimneys, gutters, vent pipes, soffits, fascia, peeling paint, foundation integrity, areas of infiltration and exfiltration, exhaust fan penetrations, accesses, crawl spaces, roof vents, land grading, shading, orientation of the building, and anomalies
Combustion appliance venting procedures | Identify pest/vermin infestations, evidence of leaking or water damage, and structural damage
Issues that pose a health and/or safety risk (e.g., clutter, bleach stored next to a furnace, animal feces, asbestos-containing materials, hazardous materials) | Identify hidden rooms or spaces
Situations that pose a health and/or safety risk | Identify the exterior materials (e.g., vinyl, brick)
Sources of moisture | Identify issues that would interfere with or prevent tests
OSHA safe work practices (e.g., confined spaces). | Identify potentially hazardous materials in the building
Detect abnormalities by using all senses (e.g., unusual odors, sounds)
Identify health and safety issues (e.g., clutter, bleach stored next to a furnace, asbestos-containing materials)
Perform visual inspection of a vented combustion appliance venting configuration
Identify a combustion appliance zone (CAZ)
Visually inspect adjacent and/or connected buildings for issues that impact or could be impacted by the audited building
Determine applicable codes and standards (e.g., ICC, NFPA).
Collect health and safety data
Knowledge of: | Ability to:
Proper locations for smoke/carbon monoxide alarms | Locate existing smoke/carbon monoxide alarms
Venting requirements for appliances | Determine age and functionality of smoke/carbon monoxide alarms
Conditions that signify or promote moisture problems | Determine if smoke/carbon monoxide alarms are hardwired or battery-powered
Domestic water heater safety | Verify that a clothes dryer is properly vented to the exterior
Electrical hazards | Verify that all exhaust fans are properly vented to the exterior
Hazardous materials | Identify any existence of hazardous materials/conditions
Heating system safety | Identify knob-and-tube wiring
How to determine if knob-and-tube wiring is active | Identify moisture issues (e.g., standing water, condensation, plumbing leaks, mold)
Issues and hazards associated with asbestos-containing materials | Identify potential electrical hazards (e.g., frayed wiring, open junction boxes, overloaded circuits)
Issues and hazards associated with lead-based paint | Identify suspected asbestos-containing materials
Manufactured home water heater regulations | Identify potential lead-based paint hazards
Rules and regulations pertaining to lead and asbestos-containing materials | Identify vented and unvented combustion appliances
Smoke/carbon monoxide alarm operations. | Identify a properly operating backdraft damper
Identify conditions that promote radon infiltration
Identify other potential indoor air quality hazards (e.g., volatile organic compounds).
Collect appliance and base load information.
Knowledge of: | Ability to:
Various appliance types and energy sources | Collect household appliance tag data (e.g., refrigerator, dishwasher, dehumidifier)
Codes and standards adopted by the authority having jurisdiction (e.g., NFPA 54) | Collect heating/cooling appliance tag data and documentation
Domestic water heater components and operation | Determine combustion appliance zone (CAZ) volume
Heating/cooling system operations | Identify appliance energy source(s)
Safety issues associated with domestic water heaters | Collect water fixture flow rates
Water fixture operations and flow rates | Identify other components related to the HVAC appliances (e.g., expansion tanks, fill valves, remote compressors, smart thermostats)
Domestic hot water heating technologies | Identify other components related to the domestic water heater appliance (storage tanks, mixing valves, etc.)
How occupant behavior affects energy consumption | Identify safety features related to the HVAC and domestic water heater appliances
The definition of base load | Collect lighting data (e.g., type, fixtures, wattage, usage)
Utility bill analysis, including base load calculation. | Identify the number of occupants
Determine client energy usage habits (e.g., A/V, computers)
Look for additional usage sources (e.g., hot tubs, pool pumps, pool heaters, fish ponds, fountains)
Collect electrical service information (e.g., size, brand)
Identify base loads.
Identify a conditioned building enclosure.
Knowledge of: | Ability to:
Pressure boundary identification | Identify and record pertinent building dimensional data
Thermal boundary identification | Determine conditioned, unconditioned, and unintentionally conditioned spaces
Various building components | Assess alignment of thermal and pressure boundaries.
Proper pressure and thermal boundary alignment.
Collect mechanical ventilation data.
Knowledge of: | Ability to:
Controls and motors | Collect tag data for exhaust fans
Types of ventilation | Determine the volume of the affected space
Ventilation ductwork | Determine the type of control
Ventilation standards and codes of authority having jurisdiction. | Determine the condition of the ventilation ductwork/piping (e.g., pitch, insulation, size, material, elbows, length of run, terminations).
Identify building insulation (attic, walls, and foundation/subspace).
Knowledge of: | Ability to:
Building science | Identify insulation type
Insulation effectiveness | Measure insulation (e.g., thickness)
Insulation R-values | Identify insulation condition and coverage
Effective R-values | Identify presence and placement of vapor retarder
Insulation placement | Identify the location of insulation (e.g., exposure, aligned with pressure and thermal boundaries).
OSHA safety requirements
General thermography principles
Collect attic data.
Knowledge of: | Ability to:
Attic components | Identify attic components (e.g., drop soffit, rafters, joists)
General construction terms | Determine existing ventilation type and size (e.g., soffit, ridge, power ventilators)
Infiltration points | Identify heat sources (e.g., recessed lights, chimneys, flues, furnaces)
Required clearance to combustibles | Identify sources/signs of water damage
Potential safety hazards in an attic (e.g., electrical hazards, nails, rafters, heat exposure) | Identify bypasses between attic and conditioned space
Signs of water damage | Identify types and point(s) of access
Signs of pest/vermin infestations | Identify potential electrical hazards
General thermography principles | Identify pest/vermin infestations
Ventilation requirements | Recognize potential structural integrity issues
OSHA safety requirements (e.g., ladder usage, confined spaces). | Identify a whole-house fan
Determine attic uses
Note the existence and effectiveness of radiant barriers
Identify the existence of baffles.
Collect wall data.
Knowledge of: | Ability to:
General construction | Identify wall types and components (e.g., interior, exterior)
Building science | Identify framing method
Infiltration points | Identify wall orientation
Typical wall framing and components | Identify sources and signs of any water damage
Issues unique to framing methods (e.g., use of upper story band joists, angle bracing in post and beam framing) | Identify infiltration points
General thermography principles. | Identify signs of pest/vermin infestation
Identify upper stories
Identify wall exposure.
Collect window and door data.
Knowledge of: | Ability to:
Environmental Protection Agency (EPA) safety requirements | Identify window type (e.g., jalousie, awning, single-hung, double-hung)
Historical preservation requirements | Identify window frame material
Window construction, components, and nomenclature | Identify window glazing type (e.g., reflective, low-E)
Door components, hardware, and nomenclature | Identify exterior shading
Door construction | Identify window operation/leakiness
Door operation and adjustments. | Identify window orientation
Identify general window conditions
Identify door type and swing
Identify condition of a door, including hardware, door sweep, seals, and operation
Determine thermal characteristics of a door.
Collect foundation/subspace data
Knowledge of: | Ability to:
Building science | Identify foundation/subspace types (e.g., crawl space, basement, slab)
Codes and standards adopted by the authority having jurisdiction | Identify foundation materials
Crawl space ventilation requirements | Identify infiltration points
Foundation construction materials and methods | Identify sources and signs of moisture
OSHA safety requirements | Identify points of access
Signs of structural hazards on foundations. | Identify potential electrical hazards
Identify signs of pest/vermin infestations
Recognize potential structural integrity issues
Identify special equipment (e.g., sump pumps).
Collect roof data.
Knowledge of: | Ability to:
Insulation materials and methods | Identify roof types (e.g., parapet, mansard, gambrel, gable)
OSHA safety requirements | Identify roof conditions
Roofing construction methods | Identify roof color
Roofing materials. | Identify roofing materials (e.g., underlayment, membrane, shingle, metal)
Identify roof penetrations
Identify roof debris (e.g., garbage, old air conditioners)
Identify the presence and condition of roof drainage
Determine the flashing condition
Identify type and location of roof access
Identify roof exposure and orientation
Identify roof insulation (e.g., flat roof with no cavity and with rigid insulation)
Determine roof pitch.
Prepare the dwelling unit for the test(s).
Knowledge of: | Ability to:
Building diagnostic testing | Determine the test(s) to be performed (e.g., blower door test, duct leakage test, combustion safety testing)
Building science | Prepare the building and equipment for testing based upon industry protocols.
Test protocols.
Test the electric appliances.
Knowledge of: | Ability to:
Electric appliance metering | Inspect appliances for test accessibility
Electric appliance safety. | Follow the manufacturer’s guidelines for operation of the watt-hour meter
Interpret data from a watt-hour meter
Access wattage usage data in an up-to-date industry-accepted resource.
Conduct indoor air quality tests.
Knowledge of: | Ability to:
Carbon monoxide exposure symptoms | Measure levels of targeted indoor air pollutants (e.g., carbon monoxide, combustible gases)
Industry standards relative to air quality (e.g., ASHRAE, EPA, NIOSH, OSHA) | Determine if the reading exceeds any applicable action levels
Effect of relative humidity on indoor air quality | Identify need for further testing.
Source control of pollutants.
Determine the safety and efficiency of combustion appliances
Knowledge of: | Ability to:
Building science | Visually inspect the fuel supply lines
Codes and standards adopted by the authority having jurisdiction | Test for leakage in the fuel supply pipes (e.g., confirm with bubble solution)
Combustion efficiency test procedures (e.g., oxygen, stack temperature, steady-state efficiency [SSE]) | Perform combustion safety tests (e.g., combustion appliance zone [CAZ] test depressurization test, carbon monoxide test)
Fuel line leak testing techniques | Conduct combustion efficiency tests (e.g., oxygen, stack temperature, steady-state efficiency [SSE]).
Heating system type (e.g., forced air heater, hydronic heater, steam heater, unit heater, space heater)
Annual fuel utilization efficiency (AFUE) versus steady-state efficiency (SSE)
Combustion safety test procedures
Venting types, materials, methods, and safety issues (e.g., venting categories, NFPA)
Greatest depressurization achievable (i.e., worst case).
Determine air leakage of the building envelope
Knowledge of: | Ability to:
Advanced blower door diagnostics (e.g., zone pressure diagnostics, pressure pans) | Perform blower door tests
Blower door testing procedures (e.g., pressurization, depressurization) | Follow industry protocol for conducting blower door tests
Blower door assembly and operation. | Perform zone pressure diagnostics (ZPD)
Perform pressure pan tests
Locate points of infiltration/exfiltration
Identify air leakage locations based on infrared images
Determine the performance of HVAC distribution
Knowledge of: | Ability to:
HVAC distribution testing protocols | Perform HVAC distribution tests
HVAC terminology | Perform a forced air system distribution leakage test
Manufacturer’s specifications | Measure room temperatures
Distribution system design and materials | Measure the temperatures of the hydronic radiators
Forced air systems | Measure air flow (i.e., cubic feet per minute [CFM])
Hydronic distribution | Measure temperature rise across heat exchangers/cooling coils
Mechanical ventilation systems (e.g., exhaust, supply, balanced). | Measure static pressure
Inspect hydronic distribution (e.g., high, low, valves)
Measure room pressure differences for forced air systems
Measure mechanical ventilation flow rates (e.g., exhaust fans, supply fans, balanced ventilation).
Evaluate the health and safety data
Knowledge of: | Ability to:
Special circumstances (e.g., mold, lead, asbestos-containing materials, radon) | Determine if there are potential health and safety concerns
Construction repair methods. | Determine if health and safety issues can be addressed through an energy-efficiency measure
Determine the repair options.
Evaluate the durability/structural integrity of the building.
Knowledge of: | Ability to:
Building science. | Determine if there are potential durability/structural integrity issues
Determine if the potential durability/structural integrity issues can be addressed through an energy-efficiency measure
Determine if further evaluation is recommended.
Evaluate the HVAC system
Knowledge of: | Ability to:
Air Conditioning Contractors of America (ACCA) manuals | Evaluate the HVAC system for health and safety concerns (e.g., suspected asbestos-containing materials)
Heating/cooling system operations | Evaluate HVAC sizing for potential replacement or upgrades (e.g., post shell retrofit)
HVAC load calculations | Evaluate the distribution (e.g., add trunk lines, radiators, to rooms as needed)
HVAC system repair, replacement, or upgrade options | Evaluate fuel switching options
Maximum allowable duct leakage | Evaluate the need to clean and tune versus replace
Safety requirements (e.g., NFPA, AHJ). | Evaluate the need for and supply of combustion air
Evaluate the HVAC system for other issues that lead to replacement or upgrades (e.g., condition, age, efficiency)
Identify duct sealing/insulation and pipe insulation opportunities
Evaluate the mechanical ventilation
Knowledge of: | Ability to:
Ventilation standards (e.g., ASHRAE, AHJ) | Compare measured flow with ventilation requirements
Mechanical ventilation controls | Determine the mechanical ventilation needs (e.g., repairs, replacements, additions, make-up air)
Ventilation strategies | Determine the type of controls needed
Ventilation ducting design. | Calculate the building ventilation requirements.
Evaluate energy use.
Knowledge of: | Ability to:
Codes and standards adopted by the authority having jurisdiction | Determine if replacements or upgrades will reduce energy consumption
Components of base loads (e.g., lighting, electronics, domestic hot water, appliances) | Analyze utility bills and fuel usage, and calculate base loads.
Base load calculation
Base load reduction strategies.
Evaluate the foundation/subspace
Knowledge of: | Ability to:
Building science | Determine if repairs are needed (e.g., plumbing, floors)
Codes and standards adopted by the authority having jurisdiction | Determine if additional insulation and/or air sealing is needed
Foundation construction techniques | Determine the proper location for insulation and/or air sealing (e.g., floor, walls, sills, perimeter, cantilever floor)
Foundation crawl space ventilation | Determine the type of insulation materials to be added
Foundation/subspace insulation | Calculate if adequate ventilation exists or should be added
Foundation/subspace types | Determine a moisture management strategy (e.g., site drain, vapor barrier).
Types and locations for vapor barriers.
Evaluate the walls
Knowledge of: | Ability to:
EPA and DOE lead and asbestos standards | Determine if repairs are needed
Building science | Determine if insulation opportunities exist
Codes and standards adopted by the authority having jurisdiction | Determine if air sealing opportunities exist
Insulation types and appropriateness | Identify the type of insulation materials to be added
Pressure and thermal boundaries | Determine the square footage of the area to be insulated
Typical wall structures | Determine if the pressure boundary and thermal boundary align
Vapor retarder in walls. | Determine if the vapor retarder is appropriately placed
Determine if band joists insulation and/or air sealing opportunities exist (i.e., upper stories)
Determine the impact of potential health and safety issues (e.g., lead-based paint, asbestos-containing materials, electrical hazards, moisture)
Determine a moisture management strategy (e.g., drainage, flashing).
Evaluate the attic.
Knowledge of: | Ability to:
Attic construction and materials | Evaluate if repairs are needed
Attic fire hazards | Determine if insulation opportunities exist
Attic insulation and air sealing strategies | Determine if air sealing opportunities exist
Attic ventilation standards | Determine if the pressure boundary and thermal boundary align
Building science | Determine if the vapor retarder is appropriately placed
Codes and standards adopted by the authority having jurisdiction | Determine if additional attic ventilation is required
Pressure and thermal boundaries | Determine if additional access is required
Moisture management | Determine the impact of potential health and safety issues (e.g., heat sources, asbestos-containing materials, electrical hazards, moisture).
Preparation for attic insulation and air sealing
Area-weighted average R-value.
Evaluate the doors and windows
Knowledge of: | Ability to:
Codes and standards adopted by the authority having jurisdiction | Determine if repairs are needed
Building science | Evaluate the condition of and/or need for storm doors and windows (e.g., closers)
Framing structures and processes | Evaluate door and window components and performance
Door types | Determine if insulation opportunities exist
Window components | Determine if air sealing opportunities exist
Door and window glazing | Determine the impact of potential health and safety issues (e.g., lead-based paint, asbestos-containing materials, moisture).
Window types.
Use energy modeling software
Knowledge of: | Ability to:
Basic construction terms | Determine pertinent modeling data
Building science | Analyze the output from the software
Energy modeling software principles. | Produce a cost and savings report.
Generate the recommended work scope
Knowledge of: | Ability to:
Building science | Determine the recommended health and safety measures
Codes and standards adopted by the authority having jurisdiction | Determine the recommended building durability measures
Construction practices, techniques, and terminology | Determine the recommended energy conservation measures
Energy modeling software | Determine the economics of recommended measures (e.g., savings to investment ratio [SIR], return on investment [ROI])
Cost-benefit analysis | Anticipate health and safety impacts from recommended retrofit measures
Program rules and standards | Specify measures to ensure thermal and pressure boundary integrity and alignment
Funding or financing mechanisms for energy-efficiency upgrades. | Assemble work specifications.
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:

## QCI KSA
Quality Control Inspector (QCI) Knowledge, Skills, & Abilities
Use the list below to determine the knowledge, skills, and abilities needed to advance as a QCI. Using the list as a guide, tasks can be completed to show proficiency. To advance through the Energy Auditor career, employees must meet the requirements listed to the right. Program management can use the scope of work from weatherization homes to check off when the employee is considered proficient in the task. Certain tasks may carry more importance than others depending on the program. For those tasks with more importance, it may be possible to ensure proficiency through additional training and/or certifications.
Tasks |  | Proficient? | Advancement Requirements
Verify worker compliance with safety regulations |  |  | Quality Control Inspector
|  |  | Training | Certifications | KSA Proficiency
Knowledge of: | Ability to: |  | BPI QCI Training | BPI HEP QCI | 100%
Basic construction techniques and practices | Evaluate the work practices for compliance with safety regulations
Codes and standards adopted by the authority having jurisdiction | Evaluate the job site for compliance with safety regulations
Safety regulations (e.g., OSHA, EPA) | Document observations.
Information contained in a Safety Data Sheet (SDS).
Evaluate in-process work quality.
Knowledge of: | Ability to:
Basic building science | Compare the work performed to the work plan
Codes and standards adopted by the authority having jurisdiction | Determine if correct materials are being installed
Building materials | Verify the condition and capacity of the tools and equipment (e.g., calibration dates,blowing machine pressure)
Construction work practices | Determine needed diagnostic tests
Installation methods | Document potential missed opportunities
Standards and specifications | Evaluate job site management and scheduling (e.g., sequencing, material and equipmentstaging).
Test protocols.
Verify on-site documentation.
Knowledge of: | Ability to:
Documentation procedures | Determine if required documentation is present on the job site (e.g., work order, permits,Safety Data Sheet [SDS], installation specifications)
Credentialing requirements for workers | Determine which job site worker credentials are necessary (e.g., licenses, certifications).
Program and agency guidelines
Required job site documents.
Verify installed measures and initial assessment details
Knowledge of: | Ability to:
Building science | Determine which diagnostic tests are needed (e.g., health, safety, air leakage)
Codes and standards adopted by the authority having jurisdiction | Visually inspect installed measures
Standards and specifications | Confirm housing characteristics used for initial assessment (e.g., insulation levels, heating equipment, square footage)
Testing protocols. | Identify potential missed opportunities.
Evaluate installed measures for compliance with standards
Knowledge of: | Ability to:
Building science | Compare results of sensory inspection to expected outcomes
Codes and standards adopted by the authority having jurisdiction | Determine code or program compliance of installed measures (e.g., insulation certificate, installation standards)
Industry standards | Determine if installed measures meet job specifications
Program requirements. | Determine if a problem is a material problem or a work problem
Compare inspection results to previous test data
Compare inspection results to work plan projections
List actions necessary to bring installed measures up to compliance (i.e., punch list)
Interpret diagnostic test results
Verify pressure and thermal boundary alignment.
Confirm whether policy requirements have been satisfied
Knowledge of: | Ability to:
Policy requirements | Identify questionable costs
Basic heat load principles | Determine accuracy of initial building evaluation (e.g., software modeling inputs, existing equipment)
How inputs affect installed measures. | Identify omissions or inappropriate measures in the work scope
Ensure that all punch-list items have been completed
Prepare completion reports (e.g., checklists, required reports, recommended training).
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to:
[Insert Additional Task Here]
Knowledge of: | Ability to: